## Dashboard
Outputs (based on 2,000 kW-ac system) | Ameren Illinois | ComEd
25-yr Present Value Cost of Energy ($) | 5266156.3971 | 5266156.3971
25-yr Present Value Net Metering Credit ($) | 940186.9019 | 905655.6819
Revenue Shortfall ($) | 4325969.4952 | 4360500.7152
15-yr REC production (MWh) | 47375.6889 | 47375.6889
Base REC Price ($/REC) | 91.312 | 92.0409
|  |  | IPA Pricing Bin Adjustments |  |  | IPA Modified CREST Model Results
REC Prices by Pricing Bin | Ameren Illinois ($/REC) | ComEd ($/REC) | Pricing Bin Adder | Ameren Illinois Adjustment ($/REC) | ComEd Adjustment ($/REC) | System Size | Ameren Illinois Net PV COE ($/MWh) | ComEd Net PV COE ($/MWh)
<= 10 kW | 155.8727 | 156.5709 | <= 10 kW | 64.5607 | 64.53 | 10 kW | 155.8727 | 156.5709
> 10 to 25 kW | 142.5549 | 143.257 | > 10 to 25 kW | 51.2429 | 51.2161 | 25 kW | 129.237 | 129.9432
> 25 to 100 kW | 118.5729 | 119.2846 | > 25 to 100 kW | 27.2609 | 27.2437 | 100 kW | 107.9088 | 108.626
> 100 to 200 kW | 102.8284 | 103.549 | > 100 to 200 kW | 11.5164 | 11.5081 | 200 kW | 97.7479 | 98.4719
> 200 to 500 kW | 95.6134 | 96.3391 | > 200 to 500 kW | 4.3014 | 4.2982 | 500 kW | 93.4789 | 94.2063
> 500 to 2,000 kW | 91.312 | 92.0409 | > 500 to 2,000 kW | 0 | 0 | 2000 kW | 91.312 | 92.0409
Note on B4: Author: Reflects suggested 50% of NEM value to account for 50% subscriber savings

## CREST Inputs
Performance, Cost, Operating, Tax & Financing Inputs
Check |  |  |  |  | Notes |  | Check |  | Technology Options |  |  |  | Notes
|  | Selected Technology |  | Photovoltaic | ? |  |  |  | Photovoltaic | Solar Thermal Electric
|  | Project Size and Performance | Units | Input Value |  |  |  |  | Cost-Based Tariff Rate Structure | Units | Input Value
|  | Generator Nameplate Capacity | kW dc | 2666.6667 | ? |  |  | 0 | Payment Duration for Cost-Based Tariff | years | 15 |  | ?
|  | Net Capacity Factor |  | State Average | ? |  |  |  | % of Year-One Tariff Rate Escalated | % | 1% |  | ?
|  | State |  | IL | ? |  |  |  | Cost-Based Tariff Escalation Rate | % | 0% |  | ?
|  | Net C.F.: If "Custom" method, then enter Net C.F. → | % dc | 14% | ?
| 0 | Net Capacity Factor, Yr 1 | % dc | 14% | ? |  |  |  | Forecasted Market Value of Production; applies after Incentive Expiration |  |  |  | ?
|  | Production, Yr 1 | kWh | 3270400 |  |  |  |  | Select Market Value Forecast Methodology |  | Year One |  | ? | 1
| 0 | Annual Production Degradation | % | 0.5% | ? |  |  | 0 | Value of energy, capacity & RECs, Yr 1 | ¢/kWh | 2.3559 |  | ? | 1
| 0 | Project Useful Life | years | 25 | ? |  |  | 0 | Market Value Escalation Rate | % | 2% |  | ? | 1
[13 empty] | ? | 0
|  | Capital Costs | Units | Input Value
|  | Select Cost Level of Detail |  | Intermediate | ? |  |  |  | Federal Incentives | Units | Input Value
|  | Total Installed Cost | $/Watt dc | 2.03 | ? |  |  |  | Select Form of Federal Incentive |  | Cost-Based | 2 | ?
|  | Generation Equipment | $ | 2228656.1479 | ? |  |  |  | Investment Tax Credit (ITC) or Cash Grant? |  | ITC |  | ?
|  | Balance of Plant | $ | 1008911.0834 | ? |  |  | 0 | ITC or Cash Grant Amount | % | 30% |  | ?
|  | Interconnection | $ | 279044.6178 | ? |  |  | 0 | ITC utilization factor, if applicable | % | 100% | 1
|  | Development Costs & Fee | $ | 973324.6212 | ? |  |  |  | ITC or Cash Grant | $ | 0 |  | ?
|  | Reserves & Financing Costs | $ | 236687.3944 | ? |  |  |  | Is PBI Tax-Based (PTC) or Cash-Based (REPI)? |  | Tax Credit |  | ?
|  | Click Here for Complex Input Worksheet |  |  | ? |  |  |  | PBI Rate | ¢/kWh | 2.3 |  | ?
|  | Total Installed Cost (before rebates/grants, if any) | $ | 4726623.8646 | ? |  |  | 0 | PBI Utilization or Availability Factor, if applicable | % | 100%
|  | Total Installed Cost (before rebates/grants, if any) | $/Watt dc | 1.7725 | ? |  |  | 0 | PBI Duration | yrs | 10 |  | ?
[9 empty] | PBI Escalation Rate | % | 2% |  | ?
|  | Operations & Maintenance | Units | Input Value |  |  |  |  | Additional Federal Grants (Other than Section 1603) | $ | 0 |  | ?
|  | Select Cost Level of Detail |  | Intermediate | ? |  |  |  | Federal Grants Treated as Taxable Income? |  | Yes |  | ?
|  | Fixed O&M Expense, Yr 1 | $/kW-yr dc | 10 | ?
|  | Variable O&M Expense, Yr 1 | ¢/kWh | 0 | ? |  |  |  | State Rebates, Tax Credits and/or REC Revenue | Units | Input Value
|  | O&M Cost Inflation, initial period | % | 2% | ? |  |  |  | Select Form of State Incentive |  | Neither |  | ?
|  | Initial Period ends last day of: | year | 10 | ? |  |  | 0 | ITC Amount | % | 30% | 1 | ?
|  | O&M Cost Inflation, thereafter | % | 2% | ? |  |  | 0 | Utilization Factor, if applicable | % | 100%
|  | Insurance, Yr 1 (% of Total Cost) | % | 0.2% | ? |  |  | 0 | State ITC realization period | yrs | 5 |  | ?
|  | Insurance, Yr 1 ($) (Provided for reference) | $ | 8979.8729 | ? |  |  |  | Total State ITC, over realization period | $ | 0 |  | ?
|  | Project Management Yr 1 | $/yr | 13333.3333 | ? |  |  |  | Is Performance-Based Incentive Tax Credit or Cash Pmt? |  | Cash | 1 | ?
|  | Property Tax or PILOT, Yr 1 | $/yr | 0 | ? |  |  |  | Annual $ Cap on Performance-Based Incentive | $ | 250 |  | ?
|  | Annual Property Tax Adjustment Factor | % | -3.5% | ? |  |  |  | If cash, is state PBI or REC taxable? |  | No | 1 | ?
|  | Land Lease | $/yr | 0 | ? |  |  |  | PBI or REC Rate | ¢/kWh | 1.5 |  | ? | 1
|  | Royalties (% of revenue) | % | 0% | ? |  |  | 0 | PBI Utilization Factor, if applicable | % | 100%
|  | Royalties, Yr 1 ($) (Provided for reference) | $ | 0 | ? |  |  | 0 | PBI or REC Payment Duration | yrs | 10 |  | ?
[9 empty] | PBI or REC Escalation Rate (pos. or neg.) | % | 2% |  | ?
|  | Construction Financing | Units | Input Value |  |  |  |  | Additional State Rebates/Grants | $/Watt | 0.25 |  | ?
|  | Construction Period | months | 6 | ? |  |  |  | Total $ Cap on State Rebates/Grants | $ | 1000000 |  | ?
|  | Interest Rate (Annual) | % | 5% | ? |  |  |  | State Rebates/Grants Treated as Taxable Income? |  | Yes |  | ?
|  | Interest During Construction | $ | 56124.2059 | ?
[9 empty] | Capital Expenditures During Operations: Inverter Replacement |  | Input Value
|  | Permanent Financing | Units | Input Value |  |  |  | 0 | 1st Equipment Replacement | year | 10 |  | ?
| 0 | % Debt (% of hard costs) (mortgage-style amort.) | % | 45% | ? |  |  |  | 1st Replacement Cost ($ in year replaced) | $/Watt dc | 0.13 |  | ?
| 0 | Debt Term | years | 15 | ? |  |  | 1 | 2nd Equipment Replacement | year |  |  | ?
| 0 | Interest Rate on Term Debt | % | 6% | ? |  |  |  | 2nd Replacement Cost ($ in year replaced) | $/Watt dc |  |  | ?
| 0 | Lender's Fee (% of total borrowing) | % | 3% | ?
|  | Required Minimum Annual DSCR |  | 1.2 | ? |  |  |  | Reserves Funded from Operations | Units | Input Value
|  | Actual Minimum DSCR, occurs in → | 9 | 2.8 | ? |  |  |  | Decommissioning Reserve
|  | Minimum DSCR Check Cell (If "Fail," read note ==>) | Pass/Fail | Pass | ? |  |  |  | Fund from Operations or Salvage Value? |  | Operations |  | ?
|  | Required Average DSCR |  | 1.45 | ? |  |  |  | Reserve Requirement | $ | 0 |  | ?
|  | Actual Average DSCR |  | 2.88 | ?
|  | Average DSCR Check Cell (If "Fail," read note ==>) | Pass/Fail | Pass | ? |  |  |  | Initial Funding of Reserve Accounts | Units | Input Value
|  | % Equity (% hard costs) (soft costs also equity funded) | % | 55% | ? |  |  |  | Debt Service Reserve
| 0 | Target After-Tax Equity IRR | % | 12% | ? |  |  |  | # of months of Debt Service | months | 6 |  | ?
|  | Weighted Average Cost of Capital (WACC) | % | 8.123% | ? |  |  |  | Initial Debt Service Reserve | $ | 88572.2459 |  | ?
|  | Other Closing Costs | $ | 0 | ? |  |  |  | O&M Reserve/Working Capital
[9 empty] | # of months of O&M Expense | months | 6 |  | ?
|  | Summary of Sources of Funding for Total Installed Cost | [6 empty] | Initial O&M and WC Reserve | $ | 31376.8002 |  | ?
|  | Senior Debt (funds portion of hard costs) | 36.4% | 1720471.4116 | ? |  |  |  | Interest on All Reserves | % | 2% |  | ?
|  | Equity (funds balance of hard costs + all soft costs) | 49.5% | 2339485.7863 | ?
|  | Total Value of Grants (excl. pmt in lieu of ITC, if applicable) | 14.1% | 666666.6667 | ? |  |  |  | Depreciation Allocation | Input Values
|  | Total Installed Cost | $ | 4726623.8646 | ? |  |  |  | Bonus Depreciation | Yes |  |  | ?
[9 empty] | % of Bonus Depreciation applied in Year 1 | 100% |  |  | ?
|  | Tax | Units | Input Value |  |  |  |  | Allocation of Costs | 5-year MACRS | 7-year MACRS | 15-year MACRS |  |  | 20-year MACRS | 5-year SL | 15-year SL | 20-year SL | 39-year SL | Non-Depreciable
|  | Is owner a taxable entity? |  | No | ? | 0 |  | 0% | Total Installed Cost | 94% | 0% | 1.5% |  |  | 1% | 0% | 0% | 1% | 0% | 2.5% | ?
| 0 | Federal Income Tax Rate | % | 21% | ? | 0 |  | 100% | Generation Equipment | 96% | 0% | 2% |  |  | 0% | 0% | 0% | 2% | 0% | 0% | ?
|  | Federal Tax Benefits used as generated or carried forward? |  | As Generated | ? | 0 |  | 100% | Balance of Plant | 50% | 0% | 0% |  |  | 0% | 0% | 50% | 0% | 0% | 0% | ?
| 0 | State Income Tax Rate | % | 9.5% | ? | 0 |  | 100% | Interconnection | 0% | 0% | 100% |  |  | 0% | 0% | 0% | 0% | 0% | 0% | ?
|  | State Tax Benefits used as generated or carried forward? |  | As Generated | ? | 0 |  | 100% | Development Costs & Fee | 80% | 0% | 0% |  |  | 0% | 0% | 5% | 5% | 0% | 10% | ?
|  | Effective Income Tax Rate | % | 0% | ? | 0 |  | 100% | Reserves & Financing Costs | 0% | 0% | 0% |  |  | 0% | 0% | 0% | 50% | 0% | 50% | ?
|  | Depreciation Allocation |  | see table ==> | ? | 0 |  |  | Click Here for Complex Input Worksheets | [11 empty] | ?
Unit Definitions
(kW) kilowatt – a standard measure of electrical capacity, equal to 1000 Watts.
(kWh) kilowatt hour – a standard measure of electrical output. A 1 kW generator operating at rated capacity for one hour will produce 1 kWh of electricity.
(DC) direct current – the unidirectional flow of electric charge
(AC) alternating current – the multidirectional flow of electric charge
($/kW-yr) – an annual expense (or revenue) based on generator capacity
($) – All CREST model values are in nominal dollars
(¢/kWh) –cents per kilowatt hour
(%) – an input with units expressed as a percentage
(years or year) – an input applicable to a specified duration or project year
($/yr) – inputs measured in dollars and applied annually
(months) –designates the number of months to which an input applies
Pass/Fail – denotes whether the two debt service coverage ratio tests have passed or failed.
Note on I18: Note: This model alllows the user to input system cost at 1 of 3 levels of detail: "simple", "intermediate" or "complex." Simple offers a single input in $/Watt, Intermediate offers five cost subcategories in total dollars, and Complex offers line-by-line project costing with user-defined categories and costs per line-item. Select your preferred method and use the cells below to enter your cost information. If you choose the "Complex" option, you will need to follow the link below to the "Complex Capital Costs" tab.
Note on I19: Note: When "Simple" is selected in the Cost Level of Detail cell, this "Total Installed Cost" row represents the total expected all-in project cost, which should include all hardware, balance of plant, interconnection, design, construction, permitting, development (including developer fee), interest during construction and financing costs. This figure should not account for any tax incentives, grants, or other cash incentives, each of which will be addressed elsewhere in the model. This figure should, however, reflect any applicable sales tax or exemptions thereof. Input must be greater than zero.
Note on S8: Note: The FIT contract length is the number of years for which the rate specified by this model is available. This term is established by policymakers and must be less than or equal to the project's useful life. The contract duration is also different than the debt tenor (if applicable), which is specified in the Permanent Financing section below.
Note on I14: Note: Studies have shown that solar projects experience annual degradation in production. For example, see NREL's 2002 study, Degradation Analysis of Weathered Crystalline-Silicon PV Modules, which estimates between a 0.05% and 1.0% degradation per year. For more information, see: http://www.nrel.gov/docs/fy02osti/31455.pdf *See bottom of introduction page for a list of links Input must be => 0%.
Note on I13: Note: This is a calculation, based on the system size and capacity factor, provided above.
Note on I26: Note: The total system cost is a calculation, based on the level of detail selected and the assocated inputs.
Note on I69: Note: This cell calculates the total of all applicable grants, excluding the payment in lieu of the Federal ITC (also known as the ITC Cash Grant, or Cash Grant), if applicable. The ITC Cash Grant is considered separately because unlike grants issued upfront and used to offset capital costs, the ITC Cash Grant is disbursed approxiamtely 60 days after the start of commercial operations and therefore becomes an integral part of the project's financing. Where grants are treated as taxable income, this cell calculates the after-tax impact on the total cost of the project.
Note on I20: Note: "Generation Equipment" should include all hardware, such as panels and inverters. Caution: the model assumes that if "Intermediate" is selected as the level of detail section, the "Generation Equipment" row must have a value greater than zero.
Note on I21: Note: Balance of Plant (also known as Balance of System) represents all infrastructure, site prep and labor supporting the installation of the generation equipment. BOP costs include foundations, mounting devices, other hardware, and labor not already accounted for in the "Generation Equipment" row. Input cannot be less than zero.
Note on I22: Note: The "Interconnection" row should account for all project costs relating to connecting to the grid, such as the construction of transmission lines, permitting costs with the utility, and start-up costs. This category will also include the cost of a new substation, if necessary. Regulators wishing to explore the potential that interconnection costs may be recovered from ratepayers separately can elect to enter zeros in this cost category whenever "Intermediate" or "Complex" is selected. Input cannot be less than zero.
Note on I24: Note: The "Reserves & Financing Costs" row accounts for all costs relating to financing, such as lender fees, closing costs, legal fees, interest during construction, due diligence costs, and any other relevant, financing relating costs. The model calculates this field by aggregating G22 through G25, G51, G54, G63, G66, Q57 and Q60.
Note on I23: Note: The "Development Costs" row should include all costs relating to project management, studies, engineering, permitting, contingencies, success fees, and other soft costs not accounted for elsewhere in the "Intermediate" cost breakdown. Input cannot be less than zero.
Note on I25: Note: If you wish to enter your project costs under the "Complex" format, select Complex from the drop-down menu and use the link to the left to access additional worksheets which provide the opportunitiy to add significant, additional detail on project costs. Once complete, the model will roll up the detailed costs and populate this row with the resultant final project cost.
Note on I52: Note: Debt "tenor" (also casually referred to as "term"), is the number of years in the debt repayment schedule. Caution: If the project will utilize debt, this value must be greater than zero but less than or equal to the total FIT contract duration.
Note on I62: Note: The target after-tax equity IRR is the equity investor's cost of capital -- or "discount rate" -- and is the minimum rate of return that the project owner will seek to attain in order to justify the project compared to alternative investments. The CREST model assumes a single equity investor taking both cash and tax benefits. As a result, the target after-tax equity IRR entered here should represent a blend of expected returns for both cash and tax equity investments. The user should be explicit in his or her assumption regarding the term over which the target after-tax IRR is assumed to be realized. For example, the user could elect to align the return requirement with the tariff payment duration. In this case, the project useful life should be set equal to the tariff duration in order to calculate the COE associated with the target IRR over that period of time. In a second example, the user could elect to align the return requirement with the project's useful life. In this case, the user can either assume a tariff duration equal to the project life, or assume market-based revenue for the period after the tariff and before the end of the assumed project useful life. This input cannot be less than zero. If a project is expected to be funded either by a pool of corporate funds or back-leveraged after commercial operation, the user might elect to enter 0% in the "% Debt" cell and enter a weighted average cost of capital (WACC) in the "Target After-Tax Equity IRR" cell.
Note on I53: Note: The all-in interest rate is the financing rate provided by the bank or other debt investor. This input cannot be less than zero.
Note on I36: Note: Project owners, or hosts, are required to carry insurance. This input accounts for the estimated cost of insuring the modeling power generating facility. Input cannot be less than zero.
Note on I38: Note: "Project Management" accounts for the cost of staff time related to managing the project's PPAs, grid integration, and periodic reporting to the system operator and policymakers. Input cannot be less than zero.
Note on I39: Note: "Property Tax or PILOT" accounts for costs associated with any local taxes incurred by the project. Many states offer tax exemptions for renewable energy systems; to check your local applicability, please visit: http://dsireusa.org/ *See bottom of introduction page for a list of links This line can also be used to account for any PILOTs or Payment in Leiu of Taxes. Developers often negotiate a PILOT with the local community to secure a fixed, predictable payment that serves both parties appropriately. This model allows the user to input a year-one Property Tax or PILOT value along with an annual property tax adjsutment factor (see next cell down). As a result, taxes can be modeled as flat, increasing, or decreasing annually depending on the value entered in the adjustment factor cell below. Input cannot be less than zero.
Note on I42: Note: The royalties input accounts for variable payments to site hosts, neighbors, partners, or other parties which may have a stake in the project and which are NOT covered by the fixed "Land Lease" payment. Fixed payments may be applied in addition to, or in lieu of, the royalty payment through the "Land Lease" input above, if applicable. Inflation is NOT applied to this input. However, if tariff escalation is selected, then the assumed royalty payment will increase over time since it is calculated as a function of revenue over time. If your project's royalty payments are not the same over time, then an average annual royalty payment should be calculated externally and entered in this cell. This input cannot be less than zero.
Note on S21: NOTE: The maximum potential Investment Tax Credit (ITC) benefit is assumed to be 30% of those project costs which are depreciable on the 5-year MACRS schedule. This assumption is purposefully simplified for this analysis. Project costs depreciated on other bases may also be eligible for the ITC. Developers should consult with tax counsel for project-specific depreciation and ITC treatment of each project cost.
Note on S45: Note: Include here the dollar per Watt value of any state-specific rebates or cash grants. Input cannot be less than zero.
Note on S50: Note: In the case of Photovoltaic (PV) projects, one of the major hardware components is the inverter. Unlike panels, which are warrantied for 25 years in many cases, inverters are typically only warrantied for 10 years. These input cells allow for assumptions regarding one or more inverter replacements over a project's useful life. Because a warranty is offered typically for years 1-10, a conservative approach is to assume an inverter replacement in year 10. The range for modeling an inverter replacement is typically in the 10-15 year range. Caution: Modelers should take into account the contract duration and the project's useful life when considering whether to assume one or two inverter replacements. Input should be greater than zero and less than the Project Useful Life.
Note on S24: Note: This input cell, the "Performance Based Incentive" or "PBI" is another potential incentive available to some specific projects. The PBI would be separate from a feed-in-tariff, but acts similarly in that it is per unit of production (typically kWh) income to a project. Some examples of PBIs include the Federal Production Tax Credit (applicable to private projects with tax appetites) and the Federal Renewable Energy Production Incentive (REPI), historically available to some public projects.
Note on S27: Note: This is the length of time that a project would be eligible for any Performance Based Incentives outlined in the cell immediately above. For example, the Federal Renewable Energy Production Incentive and Production Tax Credit incentives are available for the first 10 years of project operation. Input cannot be less than zero.
Note on S58: Note: This input cell allows the user to assume the creation of a reserve account. The value entered here will be accounted for in the project's cash flow, and would be funded evenly over the number of years available between the project's commercial operation and the end of its useful life. Input cannot be less than zero.
Note on I5: Note: Select either PV or Solar Thermal Electric in the drop-down menu to the right. PV system capacity is modeled in DC and thermal system capacity is modeled in AC, the capacity factor input is modeled in AC for both. In general, the model user should take care to review the units column for each input prior to entering a value and ensure that all modeling inputs are consistent with the units shown for that cell.
Note on S23: Note: Calculates the dollar value of the Investment Tax Credit or Cash Grant, if applicable.
Note on S28: Note: Performance Based Incentives are often adjusted to account for inflation. For example, the Federal Production Tax Credit (PTC) is adjusted each year to account for changes in the GDP IPD index. This cell can be used as a proxy for the inflation that would apply to any PBI incentive entered above. This input cannot be left blank.
Note on S51: Note: The cost of an inverter replacement is often difficult to assess, given that costs are typically attributable to an item that would be purchased more than 10 years from commercial operation. Current pricing typically falls in the $0.1 - $0.5/Watt ($100-$500/kW) range, although it is expected to decrease over time. The input placed in this cell must be in nominal dollars -- reflecting the expected cost of the equipment in the year replaced. Funds sufficient to pay for this replacement are then reserved through operations in equal amounts until the year in which the replacement occurs. Note: This model assumes that future equipment purchases, such as inverter replacements, will be depreciated on 5-yr MACRS basis. Input must be greater than zero.
Note on S25: Note: This cell denotes the value of the Performance Based Incentive applicable to the project's first year of commercial operation. In some cases, this value will need to be calculated external to the model if such PBI is derived from a "base year" and specified inflation index. The following cells can be used to account for inflation and the maximum term of eligibility. Input cannot be less than zero.
Note on S40: Note: Impacts tax treatment of PBI if owner is a taxable entity.
Note on S9: Note: This is the portion (%) of the tariff which is subject to annual escalation. Program administrators may determine that some or all of the tariff rate should be escalated to reflect the uncertainty associated with the future cost of owning and operating an electricity generating facility. This input is separate from the inflation assumed to apply to certain O&M expenses, which is provided as an input in the O&M section below. Input must be between 0% and 100%.
Note on I27: Note: Calculation based on the total system cost in the cell above and the system size reported. Typical costs (as of 2010) fall between $4/Watt and $10/Watt.
Note on S20: Note: Some renewable energy projects may be eligible to take advantage of Federal incentives such as the Investment Tax Credit or a cash payment from the Treasury Grant in lieu of the ITC (under Section 1603). The CREST model assumes that the ITC or Section 1603 cash grant, as applicable, flows to the project's equity provider in the first commercial operation year - rather than reducing the project's assumed initial installed cost. The exception to this rule occurs when "carried forward" is selected in the Tax section. In this case, net operating losses are rolled forward while the tax benefits are used internally by the project. Information on eligibility for funding opportunities such as these is available online at: http://dsireusa.org/incentives/incentive.cfm?Incentive_Code=US02F&re=1&ee=1 *See bottom of introduction page for a list of links
Note on S29: Note: Some renewable energy projects may be eligible for other federal grants as well, such as funding from the U.S. Department of Agriculture. This input cell can be used to capture those funding opportunities, some of which are outlined online at: http://dsireusa.org/incentives/index.cfm?state=us&re=1&EE=1 *See bottom of introduction page for a list of links Input cannot be less than zero.
Note on S57: Note: In order to ensure that project owners have sufficient funds to decommission and remove equipment at the end of a project's life, many owners choose to create and fund a reserve account throughout the course of project. This input cell allows the modeler to choose whether to pay for project removal by creating and funding a reserve account over the project life by selecting "Operations" or to assume that a project's removal will be funded by selling the equipment, by selecting "Salvage".
Note on S33: Note: This drop-down input cell allows the user to specify whether state, utility or other local incentives are cost-based (e.g. an investment tax credit) or performance-based (e.g. a PTC, Renewable Energy Credit (REC) or other cash payment). The magnitude and terms of these incentives are set in the cells below. For more information, a useful resource for researching federal and state incentives online is: http://dsireusa.org/ *See bottom of introduction page for a list of links
Note on I4: Each cell in the "Notes" column provides a brief description of the input in the corresponding row, its application within the model, and (in some cases) the range of values that might be expected to populate that input cell. It is the model user's responsibility, however, to research and validate the applicability of, and appropriate value for, each input.
Note on C4: The "Check" column evaluates whether or not values have been enterred in all required fields. Green denotes an accepted entry in a required field or a calculation for which the minimum required precedents have been satisfied. Red denotes the absence of an entry in a required field, or a calculation for which the minimum required precendents have NOT been satisfied. Please note that while the "Check" column ensures the population of all required fields, this column does NOT validate the magnitude of such entries. It is the model user's responsibility to provide inputs which accurately represent the project being modeled. In some cases, a range of typical values for a specified input are provided in that input's "Notes" cell.
Note on S4: Each cell in the "Notes" column provides a brief description of the input in the corresponding row, its application within the model, and (in some cases) the range of values that might be expected to populate that input cell. It is the model user's responsibility, however, to research and validate the applicability of, and appropriate value for, each input.
Note on I30: Note: Select either "Simple" or "Intermediate" O&M expense detail using the drop-down menu to the right.
Note on I37: Note: This cell calculates the resulting dollar value cost of insurance based on the input above and the project installed cost (net of financing costs). It is provided simply as a reference for the user.
Note on I34: Note: This feature allows the user to assume that the rate at which expenses change over time is not constant. This cell provides the year in which the first inflation period ends. Input cannot be less than zero.
Note on I35: Note: This cell provides the inflation rate for the remainder of the project's useful life. Input must be greater than zero.
Note on I46: Note: The # of months from construction start to commercial operation. This input cannot be less than zero.
Note on I47: Note: The annual interest rate on construction debt. This input cannot be less than zero.
Note on I48: Note: A calculated value showing the interest accrued during the construction period. Rather than requiring the user to define a detailed construction draw-down schedule, this calculation makes the simplifying assumption that the total project cost is spent in equal parts in each month of the construction period. IDC is calculated on total project cost, assuming that any grants are collected after construction financing is repaid at time of permanent financing. This cell is only used with the "Intermediate" and "Complex" capital cost options. The "Simple" capital cost option assumes that all project costs, including IDC, are included in the single input.
Note on I51: Note: For ease of use and comprehension by a wide range of stakeholders, this model allows the user to define the capital structure, and relies on mortgage-style amortization of the project debt. The "% Debt" input specifies the portion of funds borrowed, as a percentage of the total "hard costs." Equity is assumed to fund the remaining hard costs PLUS all "soft costs" (e.g. transaction costs and funding of initial reserve accounts, if applicable). This input cannot be less than zero. Where maximum sustainable leverage is desired, the user must manually adjust the "% Debt" entry upward to the highest point before the DSCRs no longer "Pass." If a specific % Debt is desired, and such % is higher than the maximum sustainable debt (such that it causes the DSCR to "Fail"), then the user must define the % Debt and then manually adjust the "Target After-Tax Equity IRR" upward until the DSCRs are met. The user should take note that when leverage becomes very high (and the corresponding equity contribution low), the "Target After-Tax Equity IRR" will need to be adjusted to levels exceeding typical commercial returns in order to maintain the DSCR ratio on such high debt levels. For this reason, it is not recommended that users solve for the COE associated with a % Debt that is beyond the maximum sustainable leverage. If a project is expected to be funded either by a pool of corporate funds or back-leveraged after commercial operation, the user might elect to enter 0% in the "% Debt" cell and enter a weighted average cost of capital (WACC) in the "Target After-Tax Equity IRR" cell.
Note on I54: Note: A one-time fee collected by the lender and calculated as a % of the total loan amount. This value is typically between 1% and 4%. This input cannot be less than zero.
Note on I64: Note: This cell represents the costs of both equity and debt due diligence (if applicable) and other transaction costs. Input cannot be less than zero.
Note on I73: Note: Defines whether the project owner is a taxable or non-taxable entity. This determines the treatment of income taxes and other tax-related items.
Note on I74: Note: Defines the project's federal income tax rate, if applicable. Input cannot be less than zero.
Note on I76: Note: Defines the project's state income tax rate, if applicable. Input cannot be less than zero.
Note on I79: Note: Depreciation accounts for the "use" of equipment for tax purposes. The depreciation inputs are provided in the table to the right and on the Complex Capital Costs tab when this option is selected.
Note on I78: Note: Takes into account the interaction between federal and state tax rates. This is a calculated value.
Note on S34: NOTE: The maximum potential Investment Tax Credit (ITC) benefit is assumed to be 30% of those project costs which are depreciable on the 5-year MACRS schedule. Note that the state investment tax credit can only be applied to state-specific income tax liability.
Note on S36: Note: Specifies whether the available ITC is realized in a single year or over multiple years. This input will be specified by state-specific law or regulation. A good resource on available state incentives is: http://dsireusa.org/ *See bottom of introduction page for a list of links Input must be greater than 1 and less than the Project Useful Life.
Note on S47: Note: Select here whether state grants are treated as taxable income. If no, depreciation basis is reduced.
Note on S38: Note: This input cell, the "Performance Based Incentive" or "PBI" is another potential incentive available to some specific projects. The PBI would be separate from a feed-in-tariff, but acts similarly in that it is per unit of production (typically kWh) income to a project. Some examples of PBIs include the Federal Production Tax Credit (applicable to private projects with tax appetites) and the Federal Renewable Energy Production Incentive (REPI), historically available to some public projects.
Note on S41: Note: This cell denotes the value of the Performance Based Incentive applicable to the project's first year of commercial operation. In some cases, this value will need to be calculated external to the model if such PBI is derived from a "base year" and specified inflation index. The following cells can be used to account for inflation and the maximum term of eligibility. Input cannot be less than zero.
Note on S43: Note: This is the length of time that a project would be eligible for any Performance Based Incentives outlined in the cell immediately above. For example, the Federal Renewable Energy Production Incentive and Production Tax Credit incentives are available for the first 10 years of project operation. Input cannot be less than zero.
Note on S44: Note: Performance Based Incentives are often adjusted to account for inflation. For example, the Federal Production Tax Credit (PTC) is adjusted each year to account for changes in the GDP IPD index. This cell can be used as a proxy for the inflation that would apply to any PBI incentive entered above. This input cannot be left blank.
Note on S62: Note: Lenders typically require the project owner to establish a reserve account prior to the commencement of operations to ensure that loan repayments occur in full and on time even if the project has insufficient operating cash flow in a specific period due to lower than expected production, higher costs, or both. The size of the reserve account is typically equal to 6 months of debt service obligation. Input cannot be less than zero.
Note on S63: Note: Calculated value based on the # months of required reserve and the capital structure and associated periodic debt obligation.
Note on S65: Note: Lenders typically require the project owner to establish a reserve account prior to the commencement of operations to ensure that all O&M expenses can be met even if the project has insufficient operating cash flow in a specific period due to lower than expected production, higher costs, or both. The size of the reserve account is typically 3 to 6 months of O&M expenses, and includes all categories of O&M expenses. Input cannot be less than zero.
Note on S66: Note: Calculated value based on the # months of required reserve and all annual operating expenses.
Note on S67: Note: Unused reserves earn interest at this rate. Input cannot be less than zero.
Note on AB73: Note: When the "Simple" capital cost option is selected, the depreciation of total project costs is divided among the classifications using this row. The depreciation options associated with other levels of cost detail will be hidden. This row must sum to 100%.
Note on AB74: Note: When the "Intermediate" capital cost option is selected, the allocation of the specified cost category across the depreciation classifications is done using this row. The depreciation options associated with other levels of cost detail will be hidden. This row must sum to 100%.
Note on AB79: Note: When the "Complex" capital cost option is selected, each line items is assigned its own depreciation classification using a drop-down menu on the Complex Capital Costs tab.
Note on I55: Note: The annual Debt Service Coverage Ratio is calculated by dividing the sum of the annual principal and interest payment into that year's operating cash flow. Lenders will require the DSCR to demonstrate the project's ability to easily meet its annual debt service obligation. Average DSCRs over the life of the loan typically range from 1.2 to 1.5 for private, commercially financed projects, or from 1.1 to 1.3 for publicly owned, bond-financed projects - depending on the level of reserves, or other surety, provided. The annual minimum DSCR will depend on the specific terms of the loan and the probability-weighting of the production estimate, but will likely be in the range of 1.0 to 1.3. This input must be greater than 1.
Note on I57: Note: This cell checks that the debt service coverage ratio exceeds the user-defined minimum in each operating year (see note in DSCR cell for definition and rationale for DSCR). If the test "fails", the user must choose from one of several options in order to cure this deficiency (the extent to which these options are available will be specific to each project): 1. reduce the amount of project level debt, 2. increase the feed-in tariff rate in order to generate cash flow sufficient to meet the bank's assumed coverage requirement. In the CREST model, this is done by manually increasing the "Target After-Tax Equity IRR." Other possible, but less likely, mechanisms include: 3. increase the loan tenor 4. decrease the interest rate
Note on I61: Note: The portion of total project cost funded from equity investors. This cell is a calculation and not an input. It is calculated as 100% minus the "% Debt" entered above.
Note on I75: Note: Defines whether depreciation and PTC benefits are monetized in the period in which they are generated ("as generated" option) or whether these benefits must be delayed until the project has sufficient tax liability to use these benefits without relying on a 3rd-party investor with tax liability external to the project ("carried forward" method).
Note on S52: Note: In the case of Photovoltaic (PV) projects, one of the major hardware components is the inverter. Unlike panels, which are warrantied for 25 years in many cases, inverters are typically only warrantied for 10 years. These input cells allow for assumptions regarding one or more inverter replacements over a project's useful life. Because a warranty is offered typically for years 1-10, a conservative approach is to assume an inverter replacement in year 10. The range for modeling an inverter replacement is typically in the 10-15 year range. Caution: Modelers should take into account the contract duration and the project's useful life when considering whether to assume one or two inverter replacements. Input should be greater than the year of 1st Equipment Replacement and less than the Project Useful Life.
Note on I15: Note: The Project Useful Life is the number of years that the project is expected to be fully operational, reliably delivering electricity to the grid, and generating revenue. This concept is different from the FIT Contract Length, which is administratively determined by policymakers. These two values may be the same if a FIT contract is offered for the project's entire expected useful life. This approach is likely to generate the lowest tariff rate, while successfully attracting investors to renewable energy projects. The CREST model is built for a maximum Project Useful Life of 30 years. Input must be greater than 0 and less than or equal to 30.
Note on S12: Note: If the designated "FIT Contract Length" is less than the defined "Project Useful Life", then this grouping of inputs is used to calculate the project's market-based revenue during the period from FIT contract expiration to the end of the project's life.
Note on S14: Note: This is the combined (or "bundled") market value of energy + capacity + Renewable Energy Credtis (RECs) in the same year in which the project's first enters commercial operation. This input must be greater than zero.
Note on S13: Note: Selecting "Year One" forecasts the total market value of production based on an estimate of that value in the project's first year of commercial operation and a user-defined escalation rate. Selecting "Year-by-Year" enables the user to enter unique annual values for the period after the FIT expires and before the end of the project's useful life.
Note on S16: Note: When "Year-by-Year" market value of production forecast is selected, this link brings the user to another worksheet on which unique annual values may be entered.
Note on S15: Note: When the "Year One" forecast methodology is selected, this is the user-defined escalation rate at which the market value of production is expected to change. Input must be greater than zero.
Note on S30: Note: Select here whether additional federal grants (other than the section 1603 payment in lieu of the ITC/PTC) are treated as taxable income. If no, depreciation basis is reduced.
Note on I40: Note: The Annual Property Tax Adjustment Factor allows the user to specify whether the Year One tax (or PILOT) value will remain fixed and flat, will decrease (a negative percentage value entered in this cell) or increase (a positive percentage value entered in this cell) over time.
Note on I58: Note: The annual Debt Service Coverage Ratio is calculated by dividing the sum of the annual principal and interest payment into that year's operating cash flow. Lenders will require the DSCR to demonstrate the project's ability to easily meet its annual debt service obligation. Average DSCRs over the life of the loan typically range from 1.2 to 1.5 for private, commercially financed projects, or from 1.1 to 1.3 for publicly owned, bond-financed projects - depending on the level of reserves, or other surety, provided. The annual minimum DSCR will depend on the specific terms of the loan and the probability-weighting of the production estimate, but will likely be in the range of 1.0 to 1.3. This input must be greater than 1.
Note on I67: NOTE: The "sources of funding" cells summarize the amount of capital contributed from equity, debt and grants, if applicable. The sum is the same at the project's "Total Installed Cost."
Note on I68: NOTE: The "sources of funding" cells summarize the amount of capital contributed from equity, debt and grants, if applicable. The sum is the same as the project's "Total Installed Cost."
Note on I70: NOTE: The "sources of funding" cells summarize the amount of capital contributed from equity, debt and grants, if applicable. The sum is the same as the project's "Total Installed Cost."
Note on I77: Note: Defines whether depreciation and PTC benefits are monetized in the period in which they are generated ("as generated" option) or whether these benefits must be delayed until the project has sufficient tax liability to use these benefits without relying on a 3rd-party investor with tax liability external to the project ("carried forward" method).
Note on F7: See "unit" definitions at the bottom of this worksheet.
Note on S19: Note: This drop-down input cell allows the user to specify whether federal incentives are cost-based (e.g. an investment tax credit) or performance-based (e.g. a PTC). The magnitude and terms of these incentives are set in the cells below. For more information, a useful resource for researching federal and state incentives online is: http://dsireusa.org/ *See bottom of introduction page for a list of links
Note on AB75: Note: When the "Intermediate" capital cost option is selected, the allocation of the specified cost category across the depreciation classifications is done using this row. The depreciation options associated with other levels of cost detail will be hidden. This row must sum to 100%.
Note on AB76: Note: When the "Intermediate" capital cost option is selected, the allocation of the specified cost category across the depreciation classifications is done using this row. The depreciation options associated with other levels of cost detail will be hidden. This row must sum to 100%.
Note on AB77: Note: When the "Intermediate" capital cost option is selected, the allocation of the specified cost category across the depreciation classifications is done using this row. The depreciation options associated with other levels of cost detail will be hidden. This row must sum to 100%.
Note on AB78: Note: When the "Intermediate" capital cost option is selected, the allocation of the specified cost category across the depreciation classifications is done using this row. The depreciation options associated with other levels of cost detail will be hidden. This row must sum to 100%.
Note on I63: Note: The weighted average cost of capital combines the after-tax cost of both equity and debt in proportion to their use, and is calculated here for reference.
Note on I43: Note: This cell calculates the resulting dollar value cost of royalties paid to landowners or other stakeholders based on the input above and project revenue. It is provided simply as a reference for the user.
Note on I59: Note: If "#N/A" appears, F9 should be pressed until the calculated COE achieves it's final value.
Note on I56: Note: If "#N/A" appears, F9 should be pressed until the calculated COE achieves it's final value.
Note on I60: Note: This cell checks that the average debt service coverage ratio exceeds the user-defined minimum during the period for which debt is outstanding (see note in DSCR cell for definition and rationale for DSCR). If the test "fails", the user must choose from one of several options in order to cure this deficiency (the extent to which these options are available will be specific to each project): 1. reduce the amount of project level debt, 2. increase the feed-in tariff rate in order to generate cash flow sufficient to meet the bank's assumed coverage requirement. In the CREST model, this is done by manually increasing the "Target After-Tax Equity IRR." Other possible, but less likely, mechanisms include: 3. increase the loan tenor 4. decrease the interest rate
Note on F17: See "unit" definitions at the bottom of this worksheet.
Note on F29: See "unit" definitions at the bottom of this worksheet.
Note on F45: See "unit" definitions at the bottom of this worksheet.
Note on F50: See "unit" definitions at the bottom of this worksheet.
Note on F72: See "unit" definitions at the bottom of this worksheet.
Note on P7: See "unit" definitions at the bottom of this worksheet.
Note on P18: See "unit" definitions at the bottom of this worksheet.
Note on P32: See "unit" definitions at the bottom of this worksheet.
Note on P55: See "unit" definitions at the bottom of this worksheet.
Note on P60: See "unit" definitions at the bottom of this worksheet.
Note on I41: Note: The Land Lease input represents fixed payments to the site host (and possibly other affected parties) for the use of the land on which the project is located. Variable royalty payments may be applied in addition to, or in lieu of, the land lease payment through the "Royalties" input below, if applicable. Input cannot be less than zero.
Note on S70: Note: To qualify for Bonus Depreciation the property must have a recovery period of 20 years or less (under normal federal tax depreciation rules), and the project must commence operation in the year in which bonus depreciation is in effect and under the ownership of the entity claiming the deduction. For qualifying projects, the owner is entitled to deduct 50% of the adjusted basis of the property during the tax year the property is first placed in service. The remaining 50% of the adjusted basis of the property is depreciated over the ordinary MACRS depreciation schedule. The bonus depreciation rules do not override the depreciation limit applicable to projects qualifying for the federal ITC. Before calculating depreciation for such a project, including any bonus depreciation, the adjusted basis of the project must be reduced by one-half of the amount of the ITC for which the project qualifies.
Note on S71: Note: This input allows the user to define the bonus depreciation % applied in Year 1, if applicable. Historically, federal bonus depreciation has been 50% of the eligible cost basis (after taking into account reductions in such cost basis for the ITC, if applicable). Input cannot be less than zero.
Note on M4: The "Check" column evaluates whether or not values have been enterred in all required fields. Green denotes an accepted entry in a required field or a calculation for which the minimum required precedents have been satisfied. Red denotes the absence of an entry in a required field, or a calculation for which the minimum required precendents have NOT been satisfied. Please note that while the "Check" column ensures the population of all required fields, this column does NOT validate the magnitude of such entries. It is the model user's responsibility to provide inputs which accurately represent the project being modeled. In some cases, a range of typical values for a specified input are provided in that input's "Notes" cell.
Note on I33: Note: This inflation rate applies to both fixed and variable O&M expense, insurance, and project management costs entered above, if applicable. The model allows the user to specify an inflation assumption for an "initial period" and a second inflation assumption "thereafter." These inputs can be used to account for inflation which might be fixed during an initial O&M service contract, but are unknown thereafter. The final year of the "initial period" is user-defined (e.g. final year of an O&M service contract). The purpose of this feature is also to recognize that inflationary trends may change over time, or that some projects may not expect inflation of O&M expenses for the first several years, but may expect inflation thereafter. This inflation rate does not apply to PILOT or Royalty costs. Input cannot be less than zero.
Note on S10: Note: To calculate a nominal levelized tariff rate, the "feed-in tariff escalation rate" field should be set to zero. Where applied, tariff rate escalation is intended to serve as a risk mitigating tool, at least partially protecting the project investor from the uncertainty associated with the future cost of owning and operating the renewable energy facility. The escalation rate can be used to assume a year over year increase in all, or a portion, of the per unit payment provided to eligible generators. This concept is separate from inflationary adjustments to future operating cost assumptions -- which are input below. This rate is applied annually. Note that in this model, calendar years and tariff years are aligned. Caution: A value must be entered into this cell in order for the model to function properly. The input can be positive or negative (if the FIT value decreases over time), and a typical value may fall between 0% and 5%.
Note on S53: Note: The cost of an inverter replacement is often difficult to assess, given that costs are typically attributable to an item that would be purchased more than 10 years from commercial operation. Current pricing typically falls in the $0.1 - $0.5/Watt ($100-$500/kW) range, although it is expected to decrease over time. The input placed in this cell must be in nominal dollars -- reflecting the expected cost of the equipment in the year replaced. Funds sufficient to pay for this replacement are then reserved through operations in equal amounts until the year in which the replacement occurs. Note: This model assumes that future equipment purchases, such as inverter replacements, will be depreciated on 5-yr MACRS basis. Input must be greater than zero.
Note on I31: Note: If "Simple" is selected in the cell above, then this input should reflect the total expected fixed cost of project operations and maintenance, in $/kW-yr. This includes the insurance, project management, property tax (or payment in lieu thereof), land lease, and royalty expenses which would have been broken out separately in the "Intermediate" case. Other labor and spare parts should also be included in this estimate. If the user has obtained O&M expense estimates from a third-party, it is critical to understand which costs have been included. If the user is not certain that all of the above-listed expenses are included in the fixed cost estimate, then the "Intermediate" approach should be used and these expenses should be entered separately. If "Intermediate" is selected, then this input should reflect the expected annual fixed O&M cost before taking into account the additional listed expenses, which are entered below. In all cases, fixed O&M would include - among others - the ongoing cost of obtaining daily, weekly or monthly production estimates based on weather and other factors. Input value must be greater than zero.
Note on I32: Note: This cell provides the user with the option of accounting for O&M expenses (such as labor and spare parts) which are more easily estimated and modeled on a variable, cents per kWh basis. If "Simple" is selected above, then this cell should also take into account variable costs, such as royalties, if such annual expenses are not already accounted for in the fixed cost input above. Input cannot be less than zero.
Note on S37: Note: Calculates the dollar value of the State Investment Tax Credit, if applicable.
Note on I9: Note: This input toggle allows the user to elect whether to provide his/her own Net Capacity Factor (the "Custom" option) or to select the state in which the project resides and allow the model to populate the Net Capacity Factor using a statewide average value provided by NREL (the "State Average" option). If State Average is selected, it should be noted that individual project capacity factors will vary based on site-specific conditions.
Note on I10: Note: Select the state in which the project has been, or is expected to be, installed. It should be noted that individual project capacity factors will vary based on site-specific conditions. The net capacity factor provided assumes fixed tilt, facing south at 25 degrees. Source = PV Watts
Note on I11: Note: If the "Custom" option is selected, then enter the projects (expected) Net Capacity Factor here.
Note on S46: Note: Enter here the maximum dollar value ("cap") of any state-specific rebate or grant. If no cap exists, enter zero. Input cannot be less than zero.
Note on S39: Note: Enter here the annual dollar value ("cap") of any state-specific production incentive. If no cap exists, enter zero. Input cannot be less than zero.
Note on G76: Author: 9.50% per IL income tax rates http://www.revenue.state.il.us/TaxRates/Income.htm http://tax.illinois.gov/localgovernment/overview/howdisbursed/replacement.htm
Note on Q21: Author: Set to 30% based on current ITC and assumption all projects are built before 2020 and receive the full credit
Note on Q51: Author: Source: NREL Q1 2017 benchmarking study, slide 24. https://www.nrel.gov/docs/fy17osti/68580.pdf
Note on G53: Author: Source: Elevate Energy Data Response 6/26/2017
Note on Q53: Author: Based on NREL Q1 benchmarking study, slide 19. http://www.nrel.gov/docs/fy16osti/67142.pdf
Note on P71: Author: Source: Public Law 115-97
Note on Q45: Author: Smart Inverter Rebate discussed in Section 6.8.2
Note on G42: Author: SEIA recommended this be set to 0%
Note on G38: Author: Source: SEIA comment on Draft LTRRPP, page 7. SEIA proposed asset management $5 per kW DC per year.
Note on G69: Author: Value of the smart inverter rebate
Note on G12: Author: Source: Joint Solar Parties Objections at 31-33
Note on G31: Author: Source: SEIA comment on Draft LTRRPP, page 7.
Note on Q14: Author: Source: SEIA comment on Draft LTRRPP, page 10.
Note on G36: Author: Source: SEIA comment on Draft LTRRPP, page 5.
Note on G40: Author: Source: SEIA comment on Draft LTRRPP, page 5.
Note on G74: Author: Source: Public Law 115-97

## Input Assumptions
Item Description | Unit |  | NREL Q1 2017 Benchmarking Study
Generator Nameplate Capacity | kW ac | 2000 | Project Size (kW AC) | 2000
Generator Nameplate Capacity | kW dc | 2666.6667 | Generation Equipment | 2422452.3347
|  |  | Balance of Plant | 1096642.4819
Capacity Factor | % dc | 14% | Interconnection | 279044.6178
AC to DC Conversion Factor |  | 0.75 | Development Costs & Fee | 1057961.5448
Discount Rate | % | 8.123%
Inflation Rate | % | 2% | Annual Reduction in Installed Costs (%) | 4%
|  |  | NREL Study Year | 2017
Subscriber Savings | % | 50% | Adjustment to year: | 2019
% of Net Metering Value Allocated | % | 50%
Note on D5: Author: Source: Joint Solar Parties Objections at 31-33
Note on D11: Author: Source: SEIA comment on Draft LTRRPP, page 13.
Note on D8: Author: Source: Calculated WACC using 6% Interest Rate on Term Debt
Note on D6: Author: Source: Joint Solar Parties Response at 31

## Cash Flow
COD
Project/Contract Year |  |  | units | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Production Degradation Factor |  |  |  |  | 1 | 0.995 | 0.99003 | 0.98507 | 0.98015 | 0.97525 | 0.97037 | 0.96552 | 0.96069 | 0.95589 | 0.95111 | 0.94635 | 0.94162 | 0.93691 | 0.93223 | 0.92757 | 0.92293 | 0.91832 | 0.91372 | 0.90916 | 0.90461 | 0.90009 | 0.89559 | 0.89111 | 0.88665 | 0.88222 | 0.87781 | 0.87342 | 0.86905 | 0.86471
Production |  |  | kWh |  | 3270400 | 3254048 | 3237777.76 | 3221588.8712 | 3205480.9268 | 3189453.5222 | 3173506.2546 | 3157638.7233 | 3141850.5297 | 3126141.2771 | 3110510.5707 | 3094958.0178 | 3079483.2277 | 3064085.8116 | 3048765.3825 | 3033521.5556 | 3018353.9478 | 3003262.1781 | 2988245.8672 | 2973304.6379 | 2958438.1147 | 2943645.9241 | 2928927.6945 | 2914283.056 | 2899711.6407 | 0 | 0 | 0 | 0 | 0
Tariff Rate & Cash Incentives
Tariff Rate Escalator, if applicable | bar: COD 1 to COD 30
Federal PBI Escalator, if applicable |  |  |  |  | 1 | 1.02 | 1.0404 | 1.0612 | 1.0824 | 1.1041 | 1.1262 | 1.1487 | 1.1717 | 1.1951 | 1.219 | 1.2434 | 1.2682 | 1.2936 | 1.3195 | 1.3459 | 1.3728 | 1.4002 | 1.4282 | 1.4568 | 1.4859 | 1.5157 | 1.546 | 1.5769 | 1.6084 | 1.6406 | 1.6734 | 1.7069 | 1.741 | 1.7758
State PBI Escalator, if applicable |  |  |  |  | 1 | 1.02 | 1.0404 | 1.0612 | 1.0824 | 1.1041 | 1.1262 | 1.1487 | 1.1717 | 1.1951 | 1.219 | 1.2434 | 1.2682 | 1.2936 | 1.3195 | 1.3459 | 1.3728 | 1.4002 | 1.4282 | 1.4568 | 1.4859 | 1.5157 | 1.546 | 1.5769 | 1.6084 | 1.6406 | 1.6734 | 1.7069 | 1.741 | 1.7758
Tariff Rate (Fixed Portion) |  |  | ¢/kWh | 99% | 18.3645 | 18.3645 | 18.3645 | 18.3645 | 18.3645 | 18.3645 | 18.3645 | 18.3645 | 18.3645 | 18.3645 | 18.3645 | 18.3645 | 18.3645 | 18.3645 | 18.3645 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tariff Rate (Escalating Portion) |  |  | ¢/kWh | 1% | 0.1855 | 0.1855 | 0.1855 | 0.1855 | 0.1855 | 0.1855 | 0.1855 | 0.1855 | 0.1855 | 0.1855 | 0.1855 | 0.1855 | 0.1855 | 0.1855 | 0.1855 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tariff Rate (Total) |  |  | ¢/kWh |  | 18.55 | 18.55 | 18.55 | 18.55 | 18.55 | 18.55 | 18.55 | 18.55 | 18.55 | 18.55 | 18.55 | 18.55 | 18.55 | 18.55 | 18.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenue from Tariff |  |  | $ |  | 606659.2 | 603625.904 | 600607.7745 | 597604.7356 | 594616.7119 | 591643.6284 | 588685.4102 | 585741.9832 | 582813.2733 | 579899.2069 | 576999.7109 | 574114.7123 | 571244.1387 | 568387.9181 | 565545.9785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Post-Tariff Market Value of Production |  |  | ¢/kWh |  | 2.3559 | 2.403 | 2.451 | 2.5001 | 2.5501 | 2.6011 | 2.6531 | 2.7062 | 2.7603 | 2.8155 | 2.8718 | 2.9292 | 2.9878 | 3.0476 | 3.1085 | 3.1707 | 3.2341 | 3.2988 | 3.3648 | 3.4321 | 3.5007 | 3.5707 | 3.6421 | 3.715 | 3.7893 | 0 | 0 | 0 | 0 | 0
Market Revenue |  |  | $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96183.698 | 97616.8351 | 99071.3259 | 100547.4887 | 102045.6462 | 103566.1264 | 105109.2617 | 106675.3896 | 108264.853 | 109877.9993 | 0 | 0 | 0 | 0 | 0
Federal Cash Incentive Rate |  |  | ¢/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal Cash Incentive |  |  | $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State Cash Incentive Rate |  |  | ¢/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State Cash Incentive |  |  | $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest Earned on Reserve Accounts |  |  | $ |  | 2784.1661 | 3554.5365 | 4324.9068 | 5095.2772 | 5865.6476 | 6636.018 | 7406.3883 | 8176.7587 | 8947.1291 | 5865.6476 | 2398.9809 | 2398.9809 | 2398.9809 | 2398.9809 | 2398.9809 | 1513.2585 | 627.536 | 627.536 | 627.536 | 627.536 | 627.536 | 627.536 | 627.536 | 627.536 | 313.768 | 7.276e-13 | 0 | 0 | 0 | 0
Project Revenue, All Sources |  |  | $ |  | 609443.3661 | 607180.4405 | 604932.6813 | 602700.0128 | 600482.3595 | 598279.6463 | 596091.7986 | 593918.7419 | 591760.4023 | 585764.8545 | 579398.6918 | 576513.6932 | 573643.1197 | 570786.899 | 567944.9594 | 97696.9564 | 98244.3711 | 99698.8619 | 101175.0247 | 102673.1822 | 104193.6624 | 105736.7977 | 107302.9257 | 108892.389 | 110191.7673 | 7.276e-13 | 0 | 0 | 0 | 0
Project Expenses
Operating Expense Inflation Factor |  |  |  |  | 1 | 1.02 | 1.0404 | 1.0612 | 1.0824 | 1.1041 | 1.1262 | 1.1487 | 1.1717 | 1.1951 | 1.219 | 1.2434 | 1.2682 | 1.2936 | 1.3195 | 1.3459 | 1.3728 | 1.4002 | 1.4282 | 1.4568 | 1.4859 | 1.5157 | 1.546 | 1.5769 | 1.6084 | 1.6406 | 1.6734 | 1.7069 | 1.741 | 1.7758
Fixed O&M Expense |  |  | $ |  | -26666.6667 | -27200 | -27744 | -28298.88 | -28864.8576 | -29442.1548 | -30030.9978 | -30631.6178 | -31244.2502 | -31869.1352 | -32506.5179 | -33156.6482 | -33819.7812 | -34496.1768 | -35186.1003 | -35889.8224 | -36607.6188 | -37339.7712 | -38086.5666 | -38848.2979 | -39625.2639 | -40417.7692 | -41226.1246 | -42050.647 | -42891.66 | 0 | 0 | 0 | 0 | 0
Variable O&M Expense |  |  | $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insurance |  |  | $ |  | -8979.8729 | -9159.4704 | -9342.6598 | -9529.513 | -9720.1033 | -9914.5053 | -10112.7954 | -10315.0513 | -10521.3524 | -10731.7794 | -10946.415 | -11165.3433 | -11388.6502 | -11616.4232 | -11848.7516 | -12085.7267 | -12327.4412 | -12573.99 | -12825.4698 | -13081.9792 | -13343.6188 | -13610.4912 | -13882.701 | -14160.355 | -14443.5621 | 0 | 0 | 0 | 0 | 0
Project Administration |  |  | $ |  | -13333.3333 | -13600 | -13872 | -14149.44 | -14432.4288 | -14721.0774 | -15015.4989 | -15315.8089 | -15622.1251 | -15934.5676 | -16253.2589 | -16578.3241 | -16909.8906 | -17248.0884 | -17593.0502 | -17944.9112 | -18303.8094 | -18669.8856 | -19043.2833 | -19424.149 | -19812.6319 | -20208.8846 | -20613.0623 | -21025.3235 | -21445.83 | 0 | 0 | 0 | 0 | 0
Property Tax or Payment in Lieu of Taxes (PILOT) |  |  | $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Land Lease |  |  | $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Royalties |  |  | $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Operating Expenses |  |  | $ |  | -48979.8729 | -49959.4704 | -50958.6598 | -51977.833 | -53017.3897 | -54077.7375 | -55159.2922 | -56262.4781 | -57387.7276 | -58535.4822 | -59706.1918 | -60900.3156 | -62118.322 | -63360.6884 | -64627.9022 | -65920.4602 | -67238.8694 | -68583.6468 | -69955.3197 | -71354.4261 | -72781.5147 | -74237.1449 | -75721.8878 | -77236.3256 | -78781.0521 | 0 | 0 | 0 | 0 | 0
[5 empty] | -48979.8729 | -49959.4704 | -50958.6598 | -51977.833 | -53017.3897 | -54077.7375 | -55159.2922 | -56262.4781 | -57387.7276 | -58535.4822 | -59706.1918 | -60900.3156 | -62118.322 | -63360.6884 | -64627.9022 | -65920.4602 | -67238.8694 | -68583.6468 | -69955.3197 | -71354.4261 | -72781.5147 | -74237.1449 | -75721.8878 | -77236.3256 | -78781.0521
Total Operating Expenses |  |  | ¢/kWh |  | -1.4977 | -1.5353 | -1.5739 | -1.6134 | -1.654 | -1.6955 | -1.7381 | -1.7818 | -1.8266 | -1.8725 | -1.9195 | -1.9677 | -2.0172 | -2.0678 | -2.1198 | -2.1731 | -2.2277 | -2.2836 | -2.341 | -2.3998 | -2.4601 | -2.5219 | -2.5853 | -2.6503 | -2.7169 | 0 | 0 | 0 | 0 | 0
EBITDA (Operating Income) |  |  | $ |  | 560463.4932 | 557220.9701 | 553974.0215 | 550722.1798 | 547464.9699 | 544201.9089 | 540932.5064 | 537656.2638 | 534372.6747 | 527229.3723 | 519692.5 | 515613.3776 | 511524.7977 | 507426.2106 | 503317.0572 | 31776.4962 | 31005.5017 | 31115.2151 | 31219.7049 | 31318.7561 | 31412.1477 | 31499.6527 | 31581.0378 | 31656.0634 | 31410.7152 | 7.276e-13 | 0 | 0 | 0 | 0
|  |  | Avg. DSCR | COD 0: Min DSCR
Annual Debt Service Coverage Ratio |  |  | 2.8847 | 2.7992 | 2.9464 | 2.9281 | 2.9098 | 2.8914 | 2.8731 | 2.8546 | 2.8362 | 2.8177 | 2.7992 | 2.9763 | 2.9337 | 2.9107 | 2.8876 | 2.8645 | 2.8413 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Minimum DSSCR Year |  |  |  | COD 9: 9
Loan Interest Expense |  |  |  |  | -103228.2847 | -98793.3123 | -94092.2415 | -89109.1065 | -83826.9833 | -78227.9328 | -72292.9393 | -66001.8461 | -59333.2874 | -52264.6151 | -44771.8225 | -36829.4624 | -28410.5606 | -19486.5247 | -10027.0467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating Income After Interest Expense |  |  |  |  | 457235.2085 | 458427.6578 | 459881.78 | 461613.0734 | 463637.9865 | 465973.976 | 468639.5671 | 471654.4177 | 475039.3873 | 474964.7572 | 474920.6774 | 478783.9152 | 483114.2371 | 487939.6858 | 493290.0105 | 31776.4962 | 31005.5017 | 31115.2151 | 31219.7049 | 31318.7561 | 31412.1477 | 31499.6527 | 31581.0378 | 31656.0634 | 31410.7152 | 7.276e-13 | 0 | 0 | 0 | 0
Repayment of Loan Principal |  |  |  |  | -73916.2071 | -78351.1796 | -83052.2504 | -88035.3854 | -93317.5085 | -98916.559 | -104851.5525 | -111142.6457 | -117811.2044 | -124879.8767 | -132372.6693 | -140315.0295 | -148733.9312 | -157657.9671 | -167117.4451 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(Contributions to), and Liquidation of, Reserve Accounts |  |  |  |  | -38518.5185 | -38518.5185 | -38518.5185 | -38518.5185 | -38518.5185 | -38518.5185 | -38518.5185 | -38518.5185 | -38518.5185 | 346666.6667 | 0 | 0 | 0 | 0 | 0 | 88572.2459 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31376.8002 | 0 | 0 | 0 | 0 | 0
Adjustment(s) for Major Equipment Replacement(s) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -346666.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pre-Tax Cash Flow to Equity |  |  |  |  | 344800.4828 | 341557.9597 | 338311.0112 | 335059.1695 | 331801.9595 | 328538.8985 | 325269.496 | 321993.2535 | 318709.6644 | 350084.8805 | 342548.0081 | 338468.8857 | 334380.3059 | 330281.7187 | 326172.5654 | 120348.7421 | 31005.5017 | 31115.2151 | 31219.7049 | 31318.7561 | 31412.1477 | 31499.6527 | 31581.0378 | 31656.0634 | 62787.5154 | 7.276e-13 | 0 | 0 | 0 | 0
Project Cash Flows
Equity Investment |  |  |  | -2339485.7863 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pre-Tax Cash Flow to Equity |  |  |  |  | 344800.4828 | 341557.9597 | 338311.0112 | 335059.1695 | 331801.9595 | 328538.8985 | 325269.496 | 321993.2535 | 318709.6644 | 350084.8805 | 342548.0081 | 338468.8857 | 334380.3059 | 330281.7187 | 326172.5654 | 120348.7421 | 31005.5017 | 31115.2151 | 31219.7049 | 31318.7561 | 31412.1477 | 31499.6527 | 31581.0378 | 31656.0634 | 62787.5154 | 7.276e-13 | 0 | 0 | 0 | 0
Net Pre-Tax Cash Flow to Equity |  |  |  | -2339485.7863 | 344800.4828 | 341557.9597 | 338311.0112 | 335059.1695 | 331801.9595 | 328538.8985 | 325269.496 | 321993.2535 | 318709.6644 | 350084.8805 | 342548.0081 | 338468.8857 | 334380.3059 | 330281.7187 | 326172.5654 | 120348.7421 | 31005.5017 | 31115.2151 | 31219.7049 | 31318.7561 | 31412.1477 | 31499.6527 | 31581.0378 | 31656.0634 | 62787.5154 | 7.276e-13 | 0 | 0 | 0 | 0
Running IRR (Cash Only) |  |  |  |  | -85.26% | -53.72% | -32.23% | -18.73% | -9.976% | -4.071% | 0.06312% | 3.047% | 5.255% | 7.09% | 8.463% | 9.523% | 10.35% | 11.01% | 11.54% | 11.7% | 11.74% | 11.77% | 11.8% | 11.83% | 11.85% | 11.87% | 11.89% | 11.91% | 11.94% | 11.94% | 11.94% | 11.94% | 11.94% | 11.94%
Depreciation Expense |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable Income (operating loss used as generated) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable Income (Federal) |  |  | operating loss treatment ==>> | As Generated | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable Income (State) |  |  | operating loss treatment ==>> | As Generated | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal Income Taxes Saved / (Paid), before ITC/PTC |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State Income Taxes Saved / (Paid), before ITC/PTC |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Benefit of Federal ITC, Cash Grant, or PTC |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Benefit of State ITC and/or PTC |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
After-Tax Cash Flow to Equity |  |  |  | -2339485.7863 | 344800.4828 | 341557.9597 | 338311.0112 | 335059.1695 | 331801.9595 | 328538.8985 | 325269.496 | 321993.2535 | 318709.6644 | 350084.8805 | 342548.0081 | 338468.8857 | 334380.3059 | 330281.7187 | 326172.5654 | 120348.7421 | 31005.5017 | 31115.2151 | 31219.7049 | 31318.7561 | 31412.1477 | 31499.6527 | 31581.0378 | 31656.0634 | 62787.5154 | 7.276e-13 | 0 | 0 | 0 | 0
Running IRR (After Tax) |  |  |  |  | -85.26% | -53.72% | -32.23% | -18.73% | -9.976% | -4.071% | 0.06312% | 3.047% | 5.255% | 7.09% | 8.463% | 9.523% | 10.35% | 11.01% | 11.54% | 11.7% | 11.74% | 11.77% | 11.8% | 11.83% | 11.85% | 11.87% | 11.89% | 11.91% | 11.94% | 11.94% | 11.94% | 11.94% | 11.94% | 11.94%
Pre-Tax (Cash-only) Equity IRR (over defined Useful Life) |  | 11.94% |  | COD 1: Yr 1 COE
After Tax Equity IRR (over defined Useful Life) |  | 11.94% |  | COD 1: (cents/kWh)
12% |  | -7329.335 |  | COD 1: 18.55
Supporting Calculations
Debt Service:
Debt Sizing (Defined Capital Structure Method)
Installed Cost (excluding cost of financing) |  |  |  | COD 0: 3823269.8036
Defined Debt-to-Total-Capital |  |  |  | COD 0: 45%
Size of Debt |  |  |  | COD 0: 1720471.4116
Loan Repayment
Structured Debt Service Payment |  |  |  | 0 | -177144.4918 | -177144.4918 | -177144.4918 | -177144.4918 | -177144.4918 | -177144.4918 | -177144.4918 | -177144.4918 | -177144.4918 | -177144.4918 | -177144.4918 | -177144.4918 | -177144.4918 | -177144.4918 | -177144.4918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest |  |  |  | 0 | -103228.2847 | -98793.3123 | -94092.2415 | -89109.1065 | -83826.9833 | -78227.9328 | -72292.9393 | -66001.8461 | -59333.2874 | -52264.6151 | -44771.8225 | -36829.4624 | -28410.5606 | -19486.5247 | -10027.0467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal |  |  |  | 0 | -73916.2071 | -78351.1796 | -83052.2504 | -88035.3854 | -93317.5085 | -98916.559 | -104851.5525 | -111142.6457 | -117811.2044 | -124879.8767 | -132372.6693 | -140315.0295 | -148733.9312 | -157657.9671 | -167117.4451 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Loan Amortization
Beginning Balance |  |  |  | 0 | 1720471.4116 | 1646555.2045 | 1568204.0249 | 1485151.7745 | 1397116.3892 | 1303798.8807 | 1204882.3217 | 1100030.7691 | 988888.1234 | 871076.919 | 746197.0423 | 613824.373 | 473509.3435 | 324775.4122 | 167117.4451 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Drawdowns |  |  |  | 1720471.4116 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal Repayments |  |  |  | 0 | -73916.2071 | -78351.1796 | -83052.2504 | -88035.3854 | -93317.5085 | -98916.559 | -104851.5525 | -111142.6457 | -117811.2044 | -124879.8767 | -132372.6693 | -140315.0295 | -148733.9312 | -157657.9671 | -167117.4451 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending Balance |  |  |  | 1720471.4116 | 1646555.2045 | 1568204.0249 | 1485151.7745 | 1397116.3892 | 1303798.8807 | 1204882.3217 | 1100030.7691 | 988888.1234 | 871076.919 | 746197.0423 | 613824.373 | 473509.3435 | 324775.4122 | 167117.4451 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation: | Project Cost Allocation
Project/Contract Year | Before | % | After | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Depreciation Schedules, Half-Year Convention | Adjustments | Allocation | Adjustments
5 Year MACRS | 3422625.1406 | 72.41% | 0 |  | 20% | 32% | 19.2% | 11.52% | 11.52% | 5.76% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
7 Year MACRS | 0 | 0% | 0 |  | 14.29% | 24.49% | 17.49% | 12.49% | 8.93% | 8.92% | 8.93% | 4.46% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
15 Year MACRS | 323617.7408 | 6.847% | 0 |  | 5% | 9.5% | 8.55% | 7.7% | 6.93% | 6.23% | 5.9% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 2.95% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
20 Year MACRS | 0 | 0% | 0 |  | 3.75% | 7.219% | 6.677% | 6.177% | 5.713% | 5.285% | 4.888% | 4.522% | 4.462% | 4.461% | 4.462% | 4.461% | 4.462% | 4.461% | 4.462% | 4.461% | 4.462% | 4.461% | 4.462% | 4.461% | 2.231% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
5 Year SL | 0 | 0% | 0 |  | 10% | 20% | 20% | 20% | 20% | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
15 Year SL | 553121.7727 | 11.7% | 0 |  | 3.33% | 6.67% | 6.67% | 6.67% | 6.67% | 6.67% | 6.67% | 6.67% | 6.67% | 6.67% | 6.67% | 6.66% | 6.66% | 6.66% | 6.66% | 3.33% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
20 Year SL | 211583.0512 | 4.476% | 0 |  | 2.5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 2.5% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
39 Year SL | 0 | 0% | 0 |  | 1.28% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56% | 2.56%
Bonus Depreciation |  |  | 4726623.8646 |  | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Non-Depreciable | 215676.1593 | 4.563% | 0
| Unadjusted |  | Adjusted
Project Cost Basis | 4726623.8646 | 100% | 4726623.8646
| OK | OK | OK
Adjustments for ITC, ITC Grant and non-taxable grants | 0
Annual Depreciation Expense, Initial Installation
Total Project Cost, adj for ITC/Grant if applicable |  |  | check
5 Year MACRS |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 Year MACRS |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 Year MACRS |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 Year MACRS |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 Year SL |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 Year SL |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 Year SL |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 Year SL |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bonus Depreciation |  |  | 4726623.8646 |  | 4726623.8646 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Depreciable |  |  | 0
Total |  |  | 4726623.8646 | bar: 0
Annual Depreciation Expense, Repairs & Replacements
1st Replacement |  |  | 346666.6667 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 346666.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation Timing |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
Depreciation Expense |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69333.3333 | 110933.3333 | 66560 | 39936 | 39936 | 19968 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2nd Replacement |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation Timing |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation Expense |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Depreciation Expense |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Depreciation Benefit |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating Loss Carry-Forward, if applicable:
Taxable Income / (Operating Loss) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal Carry-Forward
Operating Loss Carry-Forward, Beginning Balance |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Additional Operating Loss Carried-Forward |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utilization of Operating Loss Carry-Forward |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating Loss Carry-Forward, Ending Balance |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable Income with Operating Loss Carry-Forward |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State Carry-Forward
Operating Loss Carry-Forward, Beginning Balance |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Additional Operating Loss Carried-Forward |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utilization of Operating Loss Carry-Forward |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating Loss Carry-Forward, Ending Balance |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable Income with Operating Loss Carry-Forward |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal Tax Credit Benefits, if applicable:
Federal ITC (as generated) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal PTC (as generated) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Applicable Tax Credits, as generated |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carry-Forward Scenario:
Federal Income Taxes Saved / (Paid), before ITC/PTC |  |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Tax Benefit Carry-Forward, Beginning Balance |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Additional Tax Benefit Carry-Forward |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utilization of Tax Benefit Carry-Forward |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax Benefit Carry-Forward, Ending Balance |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State Tax Credit Benefits, if applicable:
State ITC (as generated) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State PTC (as generated) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Applicable Tax Credits, as generated |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carry-Forward Scenario:
State Income Taxes Saved / (Paid), before ITC/PTC |  |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Tax Benefit Carry-Forward, Beginning Balance |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Additional Tax Benefit Carry-Forward |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utilization of Tax Benefit Carry-Forward |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax Benefit Carry-Forward, Ending Balance |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reserve Accounts:
Beginning Balance |  |  |  | 0 | 119949.0461 | 158467.5647 | 196986.0832 | 235504.6017 | 274023.1202 | 312541.6387 | 351060.1572 | 389578.6758 | 428097.1943 | 466615.7128 | 119949.0461 | 119949.0461 | 119949.0461 | 119949.0461 | 119949.0461 | 119949.0461 | 31376.8002 | 31376.8002 | 31376.8002 | 31376.8002 | 31376.8002 | 31376.8002 | 31376.8002 | 31376.8002 | 31376.8002 | 7.276e-11 | 0 | 0 | 0 | 0
Debt Service Reserve |  |  |  | 88572.2459 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -88572.2459 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
O&M/Working Capital Reserve |  |  |  | 31376.8002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -31376.8002 | 0 | 0 | 0 | 0 | 0
Major Equipment Replacement Reserves |  |  |  | 0 | 38518.5185 | 38518.5185 | 38518.5185 | 38518.5185 | 38518.5185 | 38518.5185 | 38518.5185 | 38518.5185 | 38518.5185 | -346666.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Decommissioning Reserve |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending Balance |  |  |  | 119949.0461 | 158467.5647 | 196986.0832 | 235504.6017 | 274023.1202 | 312541.6387 | 351060.1572 | 389578.6758 | 428097.1943 | 466615.7128 | 119949.0461 | 119949.0461 | 119949.0461 | 119949.0461 | 119949.0461 | 119949.0461 | 31376.8002 | 31376.8002 | 31376.8002 | 31376.8002 | 31376.8002 | 31376.8002 | 31376.8002 | 31376.8002 | 31376.8002 | 7.276e-11 | 0 | 0 | 0 | 0 | 0
Interest on Reserves |  |  |  |  | 2784.1661 | 3554.5365 | 4324.9068 | 5095.2772 | 5865.6476 | 6636.018 | 7406.3883 | 8176.7587 | 8947.1291 | 5865.6476 | 2398.9809 | 2398.9809 | 2398.9809 | 2398.9809 | 2398.9809 | 1513.2585 | 627.536 | 627.536 | 627.536 | 627.536 | 627.536 | 627.536 | 627.536 | 627.536 | 313.768 | 7.276e-13 | 0 | 0 | 0 | 0
Annual Contributions to/(Liquidations of) Reserves |  |  |  |  | 38518.5185 | 38518.5185 | 38518.5185 | 38518.5185 | 38518.5185 | 38518.5185 | 38518.5185 | 38518.5185 | 38518.5185 | -346666.6667 | 0 | 0 | 0 | 0 | 0 | -88572.2459 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -31376.8002 | 0 | 0 | 0 | 0 | 0
COE Data Tables |  |  |  |  | 0: NPV; 0: NPV; 0: NPV; 3: Range Min; 4: Range Max
Calculation of COE when tax benefits are "Carried Forward" |  |  |  |  | 0: -7329.335; 0: -7329.335; 0: -7329.335; 3: 18.5; 4: 18.6
|  |  |  | 0 | 0: -3606277.0481; 0: 10; 0: -1666143.51; 0: 18; 0: -114036.6796
|  |  |  | 10 | 0: -1666143.51; 0: -1666143.51; 0: 11; 0: -1472130.1562; 0: 18.1; 0: -94635.3442
|  |  |  | 20 | 0: 273990.0281; 0: 273990.0281; 0: 12; 0: -1278116.8024; 0: 18.2; 0: -75234.0088
|  |  |  | 30 | 0: 2214123.5661; 0: 13; 0: -1084103.4486; 0: 18.3; 0: -55832.6734
|  |  |  | 40 | 0: 4154257.1042; 0: 14; 0: -890090.0948; 0: 18.4; 0: -36431.338
|  |  |  | 50 | 0: 6094390.6423; 0: 15; 0: -696076.741; 0: 18.5; 0: -17030.0027; 1: -17030.0027
|  |  |  | 60 | 0: 8034524.1804; 0: 16; 0: -502063.3872; 0: 18.6; 0: 2371.3327; 2: 2371.3327
|  |  |  | 70 | 0: 9974657.7185; 0: 17; 0: -308050.0334; 0: 18.7; 0: 21772.6681
|  |  |  | 80 | 0: 11914791.2566; 0: 18; 0: -114036.6796; 0: -114036.6796; 0: 18.8; 0: 41174.0035
|  |  |  | 90 | 0: 13854924.7947; 0: 19; 0: 79976.6742; 0: 79976.6742; 0: 18.9; 0: 60575.3389
|  |  |  | 100 | 0: 15795058.3328; 0: 20; 0: 273990.0281; 0: 19; 0: 79976.6742
Note on B197: If decommissioning paid for through operations (e.g. a decommissioning reserve account) then the "Ending Balance" in the project's final operating year should equal the total decommission reserve requirement specified on the inputs tab; if decommissioning is paid for from the salvage value of the equipment, then the "Ending Balance" in the project's final operating year should be zero.
Note on E60: NOTE: If operating loss carry-forward is NOT applied, the values in the "Taxable Income" lines should be the same.
Note on G173: Note: ITC earned in first quarter of operation assumed eligible to offset tax on state income taxes saved in first operating year, when applicable. Remainder of ITC carried forward.
Note on C98: Note: Adjustments include (if applicable): reduction of cost basis by 50% of ITC (or ITC Cash Grant), reduction of cost basis for other non-taxable grants, and allocation of Bonus Depreciation.
Note on E98: Note: Adjustments include (if applicable): reduction of cost basis by 50% of ITC (or ITC Cash Grant), reduction of cost basis for other non-taxable grants, and allocation of Bonus Depreciation.

## Net Metering Credit
Assumptions
Inflation Rate (%) | 2%
DY Year Ending
ComEd C&I Tariff | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
Energy Charge ($/kWh) | 0.037616 | 0.038368 | 0.039136 | 0.039918 | 0.040717 | 0.041531 | 0.042362 | 0.043209 | 0.044073 | 0.044955 | 0.045854 | 0.046771 | 0.047706 | 0.04866 | 0.049634 | 0.050626 | 0.051639 | 0.052671 | 0.053725 | 0.054799 | 0.055895 | 0.057013 | 0.058154 | 0.059317 | 0.060503
Transmission Charge ($/kWh) | 0.00862 | 0.0087924 | 0.0089682 | 0.0091476 | 0.0093306 | 0.0095172 | 0.0097075 | 0.0099017 | 0.0101 | 0.010302 | 0.010508 | 0.010718 | 0.010932 | 0.011151 | 0.011374 | 0.011601 | 0.011833 | 0.01207 | 0.012311 | 0.012558 | 0.012809 | 0.013065 | 0.013326 | 0.013593 | 0.013865
Total Charge ($/kWh) | 0.046236 | 0.047161 | 0.048104 | 0.049066 | 0.050047 | 0.051048 | 0.052069 | 0.053111 | 0.054173 | 0.055256 | 0.056361 | 0.057489 | 0.058638 | 0.059811 | 0.061007 | 0.062228 | 0.063472 | 0.064742 | 0.066036 | 0.067357 | 0.068704 | 0.070078 | 0.07148 | 0.07291 | 0.074368
Ameren Illinois C&I Tariff | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
Energy Charge ($/kWh) | 0.03066 | 0.031273 | 0.031899 | 0.032537 | 0.033187 | 0.033851 | 0.034528 | 0.035219 | 0.035923 | 0.036642 | 0.037374 | 0.038122 | 0.038884 | 0.039662 | 0.040455 | 0.041264 | 0.04209 | 0.042931 | 0.04379 | 0.044666 | 0.045559 | 0.04647 | 0.0474 | 0.048348 | 0.049315
Transmission Charge ($/kWh) | 0.017339 | 0.017686 | 0.018039 | 0.0184 | 0.018768 | 0.019144 | 0.019526 | 0.019917 | 0.020315 | 0.020722 | 0.021136 | 0.021559 | 0.02199 | 0.02243 | 0.022878 | 0.023336 | 0.023803 | 0.024279 | 0.024764 | 0.02526 | 0.025765 | 0.02628 | 0.026806 | 0.027342 | 0.027889
Total Charge ($/kWh) | 0.047999 | 0.048959 | 0.049938 | 0.050937 | 0.051956 | 0.052995 | 0.054055 | 0.055136 | 0.056238 | 0.057363 | 0.05851 | 0.059681 | 0.060874 | 0.062092 | 0.063334 | 0.0646 | 0.065892 | 0.06721 | 0.068554 | 0.069925 | 0.071324 | 0.07275 | 0.074205 | 0.075689 | 0.077203
Annual Expected Net Metering Revenue ($)
ComEd C&I | 151210.2144 | 153463.2466 | 155749.849 | 158070.5217 | 160425.7725 | 162816.1165 | 165242.0766 | 167704.1836 | 170202.9759 | 172739.0003 | 175312.8114 | 177924.9722 | 180576.0543 | 183266.6375 | 185997.3104 | 188768.6704 | 191581.3236 | 194435.8853 | 197332.98 | 200273.2414 | 203257.3127 | 206285.8466 | 209359.5057 | 212478.9624 | 215644.8989
Ameren Illinois C&I | 156975.6209 | 159314.5577 | 161688.3446 | 164097.5009 | 166542.5537 | 169024.0377 | 171542.4959 | 174098.4791 | 176692.5464 | 179325.2654 | 181997.2118 | 184708.9703 | 187461.1339 | 190254.3048 | 193089.094 | 195966.1215 | 198886.0167 | 201849.4183 | 204856.9747 | 207909.3436 | 211007.1928 | 214151.2 | 217342.0529 | 220580.4494 | 223867.0981

## Ameren IL C&I Rates
Transmission Charge (2018-2019) |  |  |  | Average Locational Marginal Prices (2012-2016) $/kWh
|  |  |  | 2012 | 0.02836
|  |  |  | 2013 | 0.03013
|  |  |  | 2014 | 0.04064
|  |  |  | 2015 | 0.02811
|  |  |  | 2016 | 0.02606
Source: SEIA comment on Draft LTRRPP, page 10
Transmission Charge | = | 0.13914 | $/kW-Day
| = | 4.2322 | $/kW-Month
| = | 0.017339 | $/kWh
Source: https://www.ameren.com/-/media/rates/files/illinois/aiifts618.ashx

## ComEd C&I Rates
Transmission Charge (2017-2018)
Average Locational Marginal Prices (2012-2016) $/kWh
|  |  |  | 2012 | 0.03515
|  |  |  | 2013 | 0.03687
|  |  |  | 2014 | 0.04758
|  |  |  | 2015 | 0.03333
|  |  |  | 2016 | 0.03515
Source: SEIA comment on Draft LTRRPP, page 10
Transmission Charge | = | 0.862 | c/kWh
| = | 0.00862 | $/kWh
Source: https://www.comed.com/SiteCollectionDocuments/MyAccount/MyBillUsage/CurrentRates/PJMServicesChargeHourlyandMiscProcure.pdf

## PLC Estimate
[6 empty] | Region | = | Chicago, IL
[6 empty] | System Size | = | 2000 | kW
Month | Month | Month (Days) | Month (Hours) | Season | System Output(kWh)
1 | January | 31 | 744 | Winter | 136083.5625
2 | February | 28 | 672 | Winter | 161192.6719
3 | March | 31 | 744 | Winter | 218917.3125
4 | April | 30 | 720 | Winter | 256424.0781
5 | May | 31 | 744 | Winter | 296500
6 | June | 30 | 720 | Summer | 289849.375
7 | July | 31 | 744 | Summer | 301339.7188
8 | August | 31 | 744 | Summer | 257974.7812
9 | September | 30 | 720 | Summer | 222420.4219
10 | October | 31 | 744 | Winter | 191959.6094
11 | November | 30 | 720 | Winter | 122857.7969
12 | December | 31 | 744 | Winter | 103758.1797
Total |  | 365 | 8760 |  | 2559277.5078
[5 empty] | Summer Output | 1071584.2969 | kWh
[5 empty] | Summer Output | 41.87%
[5 empty] | Summer Output | 0.41871
[5 empty] | PLC Estimate | 0.41871
Source: NREL's PV Watts Calculator: http://pvwatts.nrel.gov/index.php
Note on E6: Summer is June - September per Plug-In Illinois: https://www.pluginillinois.org/FixedRateBreakdownComEd.aspx