## Response #1
TABLE FOR RESPONSE TO DATA REQUIREMENTS #1
Usage (GWh) | 2025-2026 | 2026-2027 | 2027-2028 | 2028-2029 | 2029-2030 | 2030-2031 | 2031-2032 | 2032-2033 | 2033-2034 | 2034-2035 | 2035-2036 | 2036-2037 | 2037-2038 | 2038-2039 | 2039-2040 | 2040-2041 | 2041-2042 | 2042-2043 | 2043-2044 | 2044-2045
Residential | 26534.0377 | 26770.7531 | 27031.1521 | 27258.352 | 27657.0741 | 28099.8 | 28595.3585 | 28992.3415 | 29427.584 | 29889.0087 | 30371.1391 | 30789.8508 | 31238.4485 | 31628.1021 | 32079.5832 | 32487.3209 | 32900.2409 | 33318.4093 | 33773.0209 | 34202.2824
Small C&I | 28182.7126 | 27821.114 | 27571.0535 | 27312.9926 | 27179.2608 | 27217.7338 | 27509.3388 | 27598.9846 | 27720.9521 | 27840.1089 | 27959.2509 | 27998.3945 | 28156.5703 | 28280.0056 | 28404.3669 | 28457.8565 | 28511.4469 | 28565.1382 | 28688.1903 | 28742.2144
Large C&I | 28147.942 | 28939.9508 | 31424.8622 | 36595.0343 | 45280.7778 | 56353.2886 | 69158.0208 | 80063.9303 | 90666.1878 | 100420.8132 | 108120.3406 | 112723.7387 | 114864.7936 | 115087.9504 | 115410.5117 | 115442.6681 | 115474.8335 | 115507.0078 | 115826.2866 | 115858.5589
Railroad | 437.1265 | 431.2387 | 429.6042 | 430.5153 | 432.4239 | 432.1967 | 430.324 | 427.586 | 425.9004 | 424.3924 | 422.8125 | 420.7698 | 420.3645 | 419.6121 | 419.1583 | 417.7188 | 416.2843 | 414.8547 | 414.7107 | 413.2865
Streetlighting | 416.6324 | 415.0673 | 416.3752 | 413.426 | 412.6677 | 412.0243 | 413.1283 | 410.1962 | 409.0379 | 407.8091 | 407.9707 | 404.6767 | 403.4595 | 401.7756 | 401.5724 | 399.3502 | 397.1402 | 394.9424 | 394.6479 | 392.4639
Total Retail | 83718.4512 | 84378.1239 | 86873.0472 | 92010.3202 | 100962.2043 | 112515.0433 | 126106.1703 | 137493.0386 | 148649.6622 | 158982.1324 | 167281.5138 | 172337.4305 | 175083.6365 | 175817.4457 | 176715.1925 | 177204.9145 | 177699.9458 | 178200.3524 | 179096.8563 | 179608.8061
Notes:
Small C&I do not exceed 1,000 kW.
Assumptions based on elements of the most recent legislative draft reflecting proposed changes to the Renewable Portfolio Standard.

## Response #2
TABLES FOR RESPONSE TO DATA REQUIREMENTS #2
High Case
Usage (GWh) | PY 2025 | PY 2026 | PY 2027 | PY 2028 | PY 2029
Residential | 26933.1974 | 27577.4717 | 28259.3797 | 28920.7938 | 29777.6451
Small C&I | 28613.6316 | 28675.7086 | 28848.1025 | 29010.81 | 29303.9275
Large C&I | 28569.0587 | 29801.4525 | 32807.3579 | 38697.0954 | 48462.2145
Railroad | 444.6409 | 445.3215 | 450.3135 | 458.0232 | 466.9241
Streetlighting | 423.2151 | 427.9735 | 435.7417 | 439.1915 | 444.9738
Total Retail | 84983.7436 | 86927.9278 | 90800.8953 | 97525.9139 | 108455.6849
Low Case
Usage (GWh) | PY 2025 | PY 2026 | PY 2027 | PY 2028 | PY 2029
Residential | 26134.878 | 25976.0092 | 25839.0376 | 25668.6322 | 25659.0711
Small C&I | 27751.7936 | 26979.4471 | 26332.2599 | 25690.8099 | 25179.6587
Large C&I | 27726.8253 | 28091.0827 | 30081.7402 | 34579.7092 | 42268.4245
Railroad | 429.6121 | 417.3814 | 409.5386 | 404.2641 | 399.9924
Streetlighting | 410.0497 | 402.3585 | 397.591 | 388.811 | 382.2657
Total Retail | 82453.1587 | 81866.2788 | 83060.1674 | 86732.2265 | 93889.4123
Note; Small C&I do not exceed 1,000 kW.
Note on A3: High Case has a 1.5 percentage point adder to Base Case growth rates in each future year
Note on A12: Low Case has a 1.5 percentage point reduction to Base Case growth rates in each future year

## Response #3a
TABLE FOR RESPONSE TO DATA REQUIREMENTS #3(a)
Year | Delivery | Total Applicable | RPS | Total RPS Target | Total RPS Target3 |  | Solar Target (RECs)3
| Year | Load (1) (GWH) | Target (%)2 | (RECs) | Solar (RECs) | Wind (RECs) | ABP | Utility-Scale | Brownfield
1 | 2025-2026 | 84979 | 25% | 21244750 | 11684613 | 9560137 | 5842307 | 5491768 | 350538
2 | 2026-2027 | 83718.4512 | 28% | 23441166 | 12892641 | 10548525 | 6446321 | 6059541 | 386779
3 | 2027-2028 | 84378.1239 | 31% | 26157218 | 14386470 | 11770748 | 7193235 | 6761641 | 431594
4 | 2028-2029 | 86873.0472 | 34% | 29536836 | 16245260 | 13291576 | 8122630 | 7635272 | 487358
5 | 2029-2030 | 92010.3202 | 37% | 34043818 | 18724100 | 15319718 | 9362050 | 8800327 | 561723
6 | 2030-2031 | 100962.2043 | 40% | 40384882 | 22211685 | 18173197 | 11105843 | 10439492 | 666350
7 | 2031-2032 | 112515.0433 | 40.9% | 46021587 | 25311873 | 20709714 | 12655937 | 11896580 | 759356
8 | 2032-2033 | 126106.1703 | 41.83% | 52744642 | 29009553 | 23735089 | 14504777 | 13634490 | 870286
9 | 2033-2034 | 137493.0386 | 42.77% | 58804929 | 32342711 | 26462218 | 16171356 | 15201074 | 970281
10 | 2034-2035 | 148649.6622 | 43.73% | 65011166 | 35756141 | 29255025 | 17878071 | 16805386 | 1072684
11 | 2035-2036 | 158982.1324 | 44.72% | 71098977 | 39104437 | 31994540 | 19552219 | 18379085 | 1173133
12 | 2036-2037 | 167281.5138 | 45.73% | 76498689 | 42074279 | 34424410 | 21037140 | 19774911 | 1262228
13 | 2037-2038 | 172337.4305 | 46.76% | 80589167 | 44324042 | 36265125 | 22162021 | 20832300 | 1329721
14 | 2038-2039 | 175083.6365 | 47.82% | 83720848 | 46046466 | 37674382 | 23023233 | 21641839 | 1381394
15 | 2039-2040 | 175817.4457 | 48.9% | 85968834 | 47282859 | 38685975 | 23641430 | 22222944 | 1418485
16 | 2040-2041 | 176715.1925 | 50% | 88357611 | 48596686 | 39760925 | 24298343 | 22840442 | 1457901
17 | 2041-2042 | 177204.9145 | 50% | 88602457 | 48731351 | 39871106 | 24365676 | 22903735 | 1461940
18 | 2042-2043 | 177699.9458 | 50% | 88849973 | 48867485 | 39982488 | 24433743 | 22967718 | 1466024
19 | 2043-2044 | 178200.3524 | 50% | 89100176 | 49005097 | 40095079 | 24502549 | 23032396 | 1470152
20 | 2044-2045 | 179096.8563 | 50% | 89548428 | 49251635 | 40296793 | 24625818 | 23148268 | 1477549
1) 20 ILCS 3855/1-75(c)(1)(E)
2) 20 ILCS 3855/1-75(c)(1)(B). Percentages taken from IPA RPS budget model
3) 20 ILCS 3855/1-75(c)(1)(C)(i)

## Response #3b
TABLES FOR RESPONSE TO DATA REQUIREMENTS #3(b)
Contains Confidential Supplier Information
Year | Delivery | Existing Contracted RECs |  |  |  | Wind | [6 empty] | 0
| Year | Wind | Solar | Other | Total | LT | 2017 Utility | 2018 Utility | 2023 Indexed Fall REC | 2024 Indexed Summer REC | 2024 Indexed Fall REC | Total | LT | 2017 Utility | 2018 Utility | 2018 Utility | 2018 Utility | 2019 Brownfield Utility | 2022 Indexed REC Spring | 2022 Indexed REC Fall | 2023 Indexed REC Summer | 2023 Indexed Fall REC | 2024 Indexed REC Summer | 2024 Indexed Fall REC | Small | Large | Community | Total
1 | 2025-2026 | 2686725 | 5582381.7333 | 0 | 8269106.7333 | 1233838 | 678782 | 774105 | 0 | 0 | 0 | 2686725 | 27887 | 140680 | 281360 | 251450 | 692019 | 38217 | 6109 | 0 | 0 | 0 | 0 | 0 | 825543.6 | 859347.1333 | 2459769 | 5582381.7333
2 | 2026-2027 | 2686725 | 5582381.7333 | 0 | 8269106.7333 | 1233838 | 678782 | 774105 | 0 | 0 | 0 | 2686725 | 27887 | 140680 | 281360 | 251450 | 692019 | 38217 | 6109 | 0 | 0 | 0 | 0 | 0 | 825543.6 | 859347.1333 | 2459769 | 5582381.7333
3 | 2027-2028 | 2686725 | 7089452.7333 | 0 | 9776177.7333 | 1233838 | 678782 | 774105 | 0 | 0 | 0 | 2686725 | 27887 | 140680 | 281360 | 251450 | 692019 | 38217 | 6109 | 714385 | 792686 | 0 | 0 | 0 | 825543.6 | 859347.1333 | 2459769 | 7089452.7333
4 | 2028-2029 | 3286905 | 8004111.7333 | 0 | 11291016.7333 | 1233838 | 678782 | 774105 | 600180 | 0 | 0 | 3286905 | 27887 | 140680 | 281360 | 251450 | 692019 | 38217 | 6109 | 714385 | 792686 | 914659 | 0 | 0 | 825543.6 | 859347.1333 | 2459769 | 8004111.7333
5 | 2029-2030 | 5362590 | 9327590.7333 | 0 | 14690180.7333 | 1233838 | 678782 | 774105 | 600180 | 260535 | 1815150 | 5362590 | 27887 | 140680 | 281360 | 251450 | 692019 | 38217 | 6109 | 714385 | 792686 | 914659 | 623667 | 699812 | 825543.6 | 859347.1333 | 2459769 | 9327590.7333
6 | 2030-2031 | 5362590 | 9327590.7333 | 0 | 14690180.7333 | 1233838 | 678782 | 774105 | 600180 | 260535 | 1815150 | 5362590 | 27887 | 140680 | 281360 | 251450 | 692019 | 38217 | 6109 | 714385 | 792686 | 914659 | 623667 | 699812 | 825543.6 | 859347.1333 | 2459769 | 9327590.7333
7 | 2031-2032 | 5362590 | 9327590.7333 | 0 | 14690180.7333 | 1233838 | 678782 | 774105 | 600180 | 260535 | 1815150 | 5362590 | 27887 | 140680 | 281360 | 251450 | 692019 | 38217 | 6109 | 714385 | 792686 | 914659 | 623667 | 699812 | 825543.6 | 859347.1333 | 2459769 | 9327590.7333
8 | 2032-2033 | 4128752 | 9299703.7333 | 0 | 13428455.7333 | 0 | 678782 | 774105 | 600180 | 260535 | 1815150 | 4128752 | 0 | 140680 | 281360 | 251450 | 692019 | 38217 | 6109 | 714385 | 792686 | 914659 | 623667 | 699812 | 825543.6 | 859347.1333 | 2459769 | 9299703.7333
9 | 2033-2034 | 3952315.8333 | 9299703.7333 | 0 | 13252019.5667 | 0 | 678782 | 597668.8333 | 600180 | 260535 | 1815150 | 3952315.8333 | 0 | 140680 | 281360 | 251450 | 692019 | 38217 | 6109 | 714385 | 792686 | 914659 | 623667 | 699812 | 825543.6 | 859347.1333 | 2459769 | 9299703.7333
10 | 2034-2035 | 3826290 | 9299703.7333 | 0 | 13125993.7333 | 0 | 678782 | 471643 | 600180 | 260535 | 1815150 | 3826290 | 0 | 140680 | 281360 | 251450 | 692019 | 38217 | 6109 | 714385 | 792686 | 914659 | 623667 | 699812 | 825543.6 | 859347.1333 | 2459769 | 9299703.7333
11 | 2035-2036 | 3474590 | 9299703.7333 | 0 | 12774293.7333 | 0 | 327082 | 471643 | 600180 | 260535 | 1815150 | 3474590 | 0 | 140680 | 281360 | 251450 | 692019 | 38217 | 6109 | 714385 | 792686 | 914659 | 623667 | 699812 | 825543.6 | 859347.1333 | 2459769 | 9299703.7333
12 | 2036-2037 | 2675865 | 8728756.2333 | 0 | 11404621.2333 | 0 | 0 | 0 | 600180 | 260535 | 1815150 | 2675865 |  | 0 | 64126.8333 | 104770.8333 | 626697.75 | 37183.0833 | 6109 | 714385 | 792686 | 914659 | 623667 | 699812 | 825543.6 | 859347.1333 | 2459769 | 8728756.2333
13 | 2037-2038 | 2675865 | 8329367.4 | 0 | 11005232.4 | 0 | 0 | 0 | 600180 | 260535 | 1815150 | 2675865 |  | 0 | 0 | 0 | 409730.5 | 23659.1667 | 6109 | 714385 | 792686 | 914659 | 623667 | 699812 | 825543.6 | 859347.1333 | 2459769 | 8329367.4
14 | 2038-2039 | 2675865 | 8296915.7333 | 0 | 10972780.7333 | 0 | 0 | 0 | 600180 | 260535 | 1815150 | 2675865 |  | 0 | 0 | 0 | 400938 | 0 | 6109 | 714385 | 792686 | 914659 | 623667 | 699812 | 825543.6 | 859347.1333 | 2459769 | 8296915.7333
15 | 2039-2040 | 2675865 | 7895977.7333 | 0 | 10571842.7333 | 0 | 0 | 0 | 600180 | 260535 | 1815150 | 2675865 |  | 0 | 0 | 0 | 0 | 0 | 6109 | 714385 | 792686 | 914659 | 623667 | 699812 | 825543.6 | 859347.1333 | 2459769 | 7895977.7333
16 | 2040-2041 | 2675865 | 5708666 | 0 | 8384531 | 0 | 0 | 0 | 600180 | 260535 | 1815150 | 2675865 |  | 0 | 0 | 0 | 0 | 0 | 6109 | 714385 | 792686 | 914659 | 623667 | 699812 | 0 | 6527.4 | 1950820.6 | 5708666
17 | 2041-2042 | 2675865 | 5708666 | 0 | 8384531 | 0 | 0 | 0 | 600180 | 260535 | 1815150 | 2675865 |  | 0 | 0 | 0 | 0 | 0 | 6109 | 714385 | 792686 | 914659 | 623667 | 699812 | 0 | 6527.4 | 1950820.6 | 5708666
18 | 2042-2043 | 2675865 | 5708666 | 0 | 8384531 | 0 | 0 | 0 | 600180 | 260535 | 1815150 | 2675865 |  | 0 | 0 | 0 | 0 | 0 | 6109 | 714385 | 792686 | 914659 | 623667 | 699812 | 0 | 6527.4 | 1950820.6 | 5708666
19 | 2043-2044 | 2675865 | 5708666 | 0 | 8384531 | 0 | 0 | 0 | 600180 | 260535 | 1815150 | 2675865 |  | 0 | 0 | 0 | 0 | 0 | 6109 | 714385 | 792686 | 914659 | 623667 | 699812 | 0 | 6527.4 | 1950820.6 | 5708666
20 | 2044-2045 | 2675865 | 5708666 | 0 | 8384531 | 0 | 0 | 0 | 600180 | 260535 | 1815150 | 2675865 |  | 0 | 0 | 0 | 0 | 0 | 6109 | 714385 | 792686 | 914659 | 623667 | 699812 | 0 | 6527.4 | 1950820.6 | 5708666
Note: Wind and Solar totals
Note: ABP RECs (Small, Large and Community Solar) are based on systems approved by the ICC as of May 31, 2025.

## Response #3c
TABLES FOR RESPONSE TO DATA REQUIREMENTS #3(c)
Year | Delivery | Applicable Retail Load | RPS | Existing Contract | Remaining | Hourly ACP | RES ACP | Rider REA Over Recovery | Collateral posted
| Year | For Budget (GWH) | Budget ($M)2 | REC Spend ($M) | Budget ($M) | Funds Available ($M)3 | Funds Available ($M)3 | Funds Available ($M)3 | active REC projects ($M)6 | Forfeited collateral ($M)7 | Wind | [5 empty] | Solar
[6 empty] | 25.3747 | 48.6712 | 256.2411 | 278.1826 | 18.6683 | LT | 2017 Utility | 2018 Utility | 2023 Indexed Fall REC 5 | 2024 Indexed Summer REC 5 | 2024 Indexed Fall REC 5 | LT | 2017 Utility | 2018 Utility | 2018 Utility | 2018 Utility | 2019 Brownfield Utility | 2022 Indexed REC Spring 5 | 2022 Indexed REC Fall 5 | 2023 Indexed REC Summer 5 | 2023 Indexed Fall REC 5 | 2024 Indexed REC Summer 5 | 2024 Indexed Fall REC 5 | Small4 | Large4 | Community4 | Total
1 | 2025-2026 | 84979 | 426.5946 | 281.0155 | 145.579 | 25.3747 |  |  |  |  | 5.6044 | 2.425 | 2.9773 | 0 | 0 | 0 | 4.5211 | 1.034 | 1.708 | 1.2749 | 4.2535 | 2.2206 | 0.30728 | 0 | 0 | 0 | 0 | 0 | 67.07 | 65.2944 | 122.3251 | 281.0155
2 | 2026-2027 | 83718.4512 | 420.2666 | 285.0033 | 135.2633 | 25.3747 |  |  |  |  | 3.4633 | 2.425 | 2.9773 | 0 | 0 | 0 | 4.5491 | 1.034 | 1.708 | 1.2749 | 4.2535 | 2.2206 | 0.30484 | 0 | 0 | 0 | 0 | 0 | 60.1499 | 68.915 | 131.7279 | 285.0033
3 | 2027-2028 | 84378.1239 | 423.5782 | 237.8956 | 185.6826 | 25.3747 |  |  |  |  | -2.2356 | 2.425 | 2.9773 | 0 | 0 | 0 | 4.4805 | 1.034 | 1.708 | 1.2749 | 4.2535 | 2.2206 | 0.32256 | 22.3643 | 22.6927 | 0 | 0 | 0 | 0 | 56.5702 | 117.8077 | 237.8956
4 | 2028-2029 | 86873.0472 | 436.1027 | 283.6315 | 152.4712 | 25.3747 |  |  |  |  | -5.6031 | 2.425 | 2.9773 | 18.223 | 0 | 0 | 4.4781 | 1.034 | 1.708 | 1.2749 | 4.2535 | 2.2206 | 0.33233 | 23.5073 | 23.961 | 34.0332 | 0 | 0 | 0 | 53.2631 | 115.5432 | 283.6315
5 | 2029-2030 | 92010.3202 | 461.8918 | 401.7769 | 60.1149 | 25.3747 |  |  |  |  | -14.0144 | 2.425 | 2.9773 | 18.7032 | 8.3892 | 69.5512 | 4.338 | 1.034 | 1.708 | 1.2749 | 4.2535 | 2.2206 | 0.33722 | 24.0789 | 24.5951 | 34.7649 | 21.9073 | 26.473 | 0 | 51.2167 | 115.5432 | 401.7769
6 | 2030-2031 | 100962.2043 | 506.8303 | 392.6594 | 114.1709 | 25.3747 |  |  |  |  | -18.6781 | 2.425 | 2.9773 | 18.8832 | 8.4674 | 70.0957 | 4.3035 | 1.034 | 1.708 | 1.2749 | 4.2535 | 2.2206 | 0.33905 | 24.2932 | 24.8329 | 35.0393 | 22.0944 | 26.683 | 0 | 44.8693 | 115.5432 | 392.6594
7 | 2031-2032 | 112515.0433 | 564.8255 | 366.0479 | 198.7776 | 25.3747 |  |  |  |  | -23.6927 | 2.425 | 2.9773 | 19.0633 | 8.5455 | 70.6403 | 4.2611 | 1.034 | 1.708 | 1.2749 | 4.2535 | 2.2206 | 0.34088 | 24.5075 | 25.0708 | 35.3137 | 22.2815 | 26.8929 | 0 | 27.9645 | 108.9653 | 366.0479
8 | 2032-2033 | 126106.1703 | 633.053 | 352.877 | 280.176 | 25.3747 | [5 empty] | 2.425 | 2.9773 | 19.6035 | 8.78 | 72.2739 |  | 1.034 | 1.708 | 1.2749 | 4.2535 | 2.2206 | 0.34638 | 25.1504 | 25.7842 | 36.1369 | 22.8428 | 27.5227 | 0 | 4.2281 | 94.3146 | 352.877
9 | 2033-2034 | 137493.0386 | 690.2151 | 348.0776 | 342.1375 | 25.3747 | [5 empty] | 2.425 | 2.2998 | 19.8435 | 8.8842 | 73 |  | 1.034 | 1.708 | 1.2749 | 4.2535 | 2.2206 | 0.34882 | 25.4362 | 26.1012 | 36.5028 | 23.0923 | 27.8027 | 0 | 0.56678 | 91.2833 | 348.0776
10 | 2034-2035 | 148649.6622 | 746.2213 | 339.084 | 407.1373 | 25.3747 | [5 empty] | 2.425 | 1.8158 | 19.0633 | 8.5455 | 70.6403 |  | 1.034 | 1.708 | 1.2749 | 4.2535 | 2.2206 | 0.34088 | 24.5075 | 25.0708 | 35.3137 | 22.2815 | 26.8929 | 0 | 0.41254 | 91.2833 | 339.084
11 | 2035-2036 | 158982.1324 | 798.0903 | 327.3938 | 470.6966 | 25.3747 | [5 empty] | 1.0182 | 1.8158 | 18.103 | 8.1287 | 67.7361 |  | 1.034 | 1.708 | 1.2749 | 4.2535 | 2.2206 | 0.33111 | 23.3645 | 23.8025 | 33.8503 | 21.2837 | 25.7732 | 0 | 0.41254 | 91.2833 | 327.3938
12 | 2036-2037 | 167281.5138 | 839.7532 | 313.1602 | 526.593 | 25.3747 | [5 empty] | 0 | 0 | 17.3828 | 7.816 | 65.5579 |  | 0 | 0.40099 | 0.53119 | 3.7191 | 2.1529 | 0.32378 | 22.5072 | 22.8512 | 32.7527 | 20.5353 | 24.9334 | 0 | 0.41254 | 91.2833 | 313.1602
13 | 2037-2038 | 172337.4305 | 865.1339 | 316.6457 | 548.4882 | 25.3747 | [5 empty] | 0 | 0 | 18.043 | 8.1026 | 67.5545 |  | 0 | 0 | 0 | 1.9291 | 1.2906 | 0.3305 | 23.293 | 23.7232 | 33.7588 | 21.2213 | 25.7032 | 0 | 0.41254 | 91.2833 | 316.6457
14 | 2038-2039 | 175083.6365 | 878.9199 | 310.1286 | 568.7913 | 25.3747 | [7 empty] | 17.5628 | 7.8942 | 66.1024 |  |  | 0 | 0 | 1.8443 | 0 | 0.32561 | 22.7215 | 23.089 | 33.0271 | 20.7224 | 25.1434 | 0 | 0.41254 | 91.2833 | 310.1286
15 | 2039-2040 | 175817.4457 | 882.6036 | 308.2843 | 574.3193 | 25.3747 | [7 empty] | 17.5628 | 7.8942 | 66.1024 |  |  |  |  | 0 | 0 | 0.32561 | 22.7215 | 23.089 | 33.0271 | 20.7224 | 25.1434 | 0 | 0.41254 | 91.2833 | 308.2843
16 | 2040-2041 | 176715.1925 | 887.1103 | 307.6415 | 579.4687 | 25.3747 | [7 empty] | 17.5028 | 7.8682 | 65.9209 | [6 empty] | 0.325 | 22.6501 | 23.0098 | 32.9356 | 20.66 | 25.0734 | 0 | 0.41254 | 91.2833 | 307.6415
17 | 2041-2042 | 177204.9145 | 889.5687 | 305.0707 | 584.498 | 25.3747 | [7 empty] | 17.2628 | 7.7639 | 65.1948 | [6 empty] | 0.32256 | 22.3643 | 22.6927 | 32.5697 | 20.4105 | 24.7935 | 0 | 0.41254 | 91.2833 | 305.0707
18 | 2042-2043 | 177699.9458 | 892.0537 | 303.7852 | 588.2685 | 25.3747 | [7 empty] | 17.1427 | 7.7118 | 64.8318 | [6 empty] | 0.32133 | 22.2214 | 22.5342 | 32.3868 | 20.2858 | 24.6535 | 0 | 0.41254 | 91.2833 | 303.7852
19 | 2043-2044 | 178200.3524 | 894.5658 | 301.0464 | 593.5194 | 25.3747 | [7 empty] | 16.9627 | 7.6337 | 64.2873 | [6 empty] | 0.3195 | 22.0071 | 22.2964 | 32.1124 | 20.0987 | 24.4436 | 0 | 0.41254 | 90.4726 | 301.0464
20 | 2044-2045 | 179096.8563 | 899.0662 | 286.251 | 612.8152 | 25.3747 | [7 empty] | 16.4621 | 7.4164 | 62.7734 | [6 empty] | 0.31441 | 21.4113 | 21.6353 | 31.3496 | 19.5786 | 23.8599 | 0 | 0.38896 | 81.061 | 286.251
1) 20 ILCS 3855/1-75(c)(1)(E).
2) 20 ILCS 3855/1-75(c)(1)(F). Maximum alternative compliance payment (ACP) rate for ComEd estimated at $5.02/MWH (4.25% * 11.823 cents/kWH).
3) As of May 31, 2025, total funds available is approximately 330.3M (Hourly ACP Funds: $25,374,656, RES ACP Funds: $48,671,185 and Rider REA Over Recovery: $256,241,066).
4) ABP Contract Value estimates (Small, Large and Community Solar) are based on systems approved by the ICC as of May 31, 2025.
5) Indexed REC pricing uses 3/30/25 forwards provided by the IPA
6) As of May 31, 2025, Collateral posted for active REC projects was $278,182,613
7) As of May 31, 2025, Forfeited collateral was $18,668,286 (Wind $3,797,232 and Solar $14,871,054).

## Response #3d i and ii
TABLES FOR RESPONSE TO DATA REQUIREMENTS #3d(i) and 3d(ii)
2017 New Utility-Scale Wind Procurement (15-Year Contracts, Aug. 31 Bid Date) |  |  |  |  | 2017 New Utility-Scale & Brownfield Solar Procurement (15-Year Contracts, Aug. 31 Bid Date)
Year |  | REC Prices ($/REC) | REC Quantities (RECs) | REC Expenditures ($) | Year |  | REC Prices ($/REC) | REC Quantities (RECs) | REC Expenditures ($) | Utility Scale
Contract | Plan | Wind | Wind | Wind | Contract | Plan | Solar | Solar | Solar |  | RECs | Dollars
1 | 2025-2026 | 3.5726 | 678782 | 2425009.54 | 1 | 2025-2026 | 7.35 | 140680 | 1033998 | Solar | 17108092.1667 | 127269006.5125
2 | 2026-2027 | 3.5726 | 678782 | 2425009.54 | 2 | 2026-2027 | 7.35 | 140680 | 1033998 | Wind | 14848696.8333 | 55017957.83
3 | 2027-2028 | 3.5726 | 678782 | 2425009.54 | 3 | 2027-2028 | 7.35 | 140680 | 1033998 |  | 31956789 | 182286964.3425
4 | 2028-2029 | 3.5726 | 678782 | 2425009.54 | 4 | 2028-2029 | 7.35 | 140680 | 1033998
5 | 2029-2030 | 3.5726 | 678782 | 2425009.54 | 5 | 2029-2030 | 7.35 | 140680 | 1033998
6 | 2030-2031 | 3.5726 | 678782 | 2425009.54 | 6 | 2030-2031 | 7.35 | 140680 | 1033998
7 | 2031-2032 | 3.5726 | 678782 | 2425009.54 | 7 | 2031-2032 | 7.35 | 140680 | 1033998
8 | 2032-2033 | 3.5726 | 678782 | 2425009.54 | 8 | 2032-2033 | 7.35 | 140680 | 1033998
9 | 2033-2034 | 3.5726 | 678782 | 2425009.54 | 9 | 2033-2034 | 7.35 | 140680 | 1033998
10 | 2034-2035 | 3.5726 | 678782 | 2425009.54 | 10 | 2034-2035 | 7.35 | 140680 | 1033998
11 | 2035-2036 | 3.113 | 327082 | 1018209.54 | 11 | 2035-2036 | 7.35 | 140680 | 1033998
| Total | 3.5515 | 7114902 | 25268304.94 |  | Total | 7.35 | 1547480 | 11373978
2018 New Utility-Scale & Brownfield Solar Procurement (15-Year Contracts, Mar. 15 Bid Date) |  |  |  |  | 2018 New Utility-Scale & Brownfield Solar Procurement (15-Year Contracts, Apr. 26 Bid Date)
Year |  | REC Prices ($/REC) | REC Quantities (RECs) | REC Expenditures ($) | Year |  | REC Prices ($/REC) | REC Quantities (RECs) | REC Expenditures ($)
Contract | Plan | Solar | Solar | Solar | Contract | Plan | Solar | Solar | Solar
1 | 2025-2026 | 6.0705 | 281360 | 1707996.6 | 1 | 2025-2026 | 5.07 | 251450 | 1274851.5
2 | 2026-2027 | 6.0705 | 281360 | 1707996.6 | 2 | 2026-2027 | 5.07 | 251450 | 1274851.5
3 | 2027-2028 | 6.0705 | 281360 | 1707996.6 | 3 | 2027-2028 | 5.07 | 251450 | 1274851.5
4 | 2028-2029 | 6.0705 | 281360 | 1707996.6 | 4 | 2028-2029 | 5.07 | 251450 | 1274851.5
5 | 2029-2030 | 6.0705 | 281360 | 1707996.6 | 5 | 2029-2030 | 5.07 | 251450 | 1274851.5
6 | 2030-2031 | 6.0705 | 281360 | 1707996.6 | 6 | 2030-2031 | 5.07 | 251450 | 1274851.5
7 | 2031-2032 | 6.0705 | 281360 | 1707996.6 | 7 | 2031-2032 | 5.07 | 251450 | 1274851.5
8 | 2032-2033 | 6.0705 | 281360 | 1707996.6 | 8 | 2032-2033 | 5.07 | 251450 | 1274851.5
9 | 2033-2034 | 6.0705 | 281360 | 1707996.6 | 9 | 2033-2034 | 5.07 | 251450 | 1274851.5
10 | 2034-2035 | 6.0705 | 281360 | 1707996.6 | 10 | 2034-2035 | 5.07 | 251450 | 1274851.5
11 | 2035-2036 | 6.0705 | 281360 | 1707996.6 | 11 | 2035-2036 | 5.07 | 251450 | 1274851.5
12 | 2036-2037 | 6.2531 | 64126.8333 | 400992.225 | 12 | 2036-2037 | 5.07 | 104770.8333 | 531188.125
| Total | 6.07 | 3159086.8333 | 19188954.825 |  | Total | 5.07 | 2870720.8333 | 14554554.625
2018 New Utility-Scale Wind Procurement (15-Year Contracts, Oct. 3 Bid Date) |  |  |  |  | 2018 New Utility-Scale Solar Procurement (15-Year Contracts, Nov. 28 Bid Date)
Year |  | REC Prices ($/REC) | REC Quantities (RECs) | REC Expenditures ($) | Year |  | REC Prices ($/REC) | REC Quantities (RECs) | REC Expenditures ($)
Contract | Plan | Wind | Wind | Wind | Contract | Plan | Solar | Solar | Solar
1 | 2025-2026 | 3.8461 | 774105 | 2977279.63 | 1 | 2025-2026 | 6.1466 | 692019 | 4253549.25
2 | 2026-2027 | 3.8461 | 774105 | 2977279.63 | 2 | 2026-2027 | 6.1466 | 692019 | 4253549.25
3 | 2027-2028 | 3.8461 | 774105 | 2977279.63 | 3 | 2027-2028 | 6.1466 | 692019 | 4253549.25
4 | 2028-2029 | 3.8461 | 774105 | 2977279.63 | 4 | 2028-2029 | 6.1466 | 692019 | 4253549.25
5 | 2029-2030 | 3.8461 | 774105 | 2977279.63 | 5 | 2029-2030 | 6.1466 | 692019 | 4253549.25
6 | 2030-2031 | 3.8461 | 774105 | 2977279.63 | 6 | 2030-2031 | 6.1466 | 692019 | 4253549.25
7 | 2031-2032 | 3.8461 | 774105 | 2977279.63 | 7 | 2031-2032 | 6.1466 | 692019 | 4253549.25
8 | 2032-2033 | 3.8461 | 774105 | 2977279.63 | 8 | 2032-2033 | 6.1466 | 692019 | 4253549.25
9 | 2033-2034 | 3.8479 | 597668.8333 | 2299764.75 | 9 | 2033-2034 | 6.1466 | 692019 | 4253549.25
10 | 2034-2035 | 3.85 | 471643 | 1815825.55 | 10 | 2034-2035 | 6.1466 | 692019 | 4253549.25
11 | 2035-2036 | 3.85 | 471643 | 1815825.55 | 11 | 2035-2036 | 6.1466 | 692019 | 4253549.25
| Total | 3.8467 | 7733794.8333 | 29749652.89 | 12 | 2036-2037 | 5.9344 | 626697.75 | 3719074.0125
[5 empty] | 13 | 2037-2038 | 4.7082 | 409730.5 | 1929074.5
[5 empty] | 14 | 2038-2039 | 4.6 | 400938 | 1844314.8
[6 empty] | Total | 5.9982 | 9049575.25 | 54281505.0625
2019 New Brownfield Site Solar Procurement (15-Year Contracts, July 26 Bid Date)
Year |  | REC Prices ($/REC) | REC Quantities (RECs) | REC Expenditures ($)
Contract | Plan | Solar | Solar | Solar
1 | 2025-2026 | 58.1049 | 38217 | 2220594
2 | 2026-2027 | 58.1049 | 38217 | 2220594
3 | 2027-2028 | 58.1049 | 38217 | 2220594
4 | 2028-2029 | 58.1049 | 38217 | 2220594
5 | 2029-2030 | 58.1049 | 38217 | 2220594
6 | 2030-2031 | 58.1049 | 38217 | 2220594
7 | 2031-2032 | 58.1049 | 38217 | 2220594
8 | 2032-2033 | 58.1049 | 38217 | 2220594
9 | 2033-2034 | 58.1049 | 38217 | 2220594
10 | 2034-2035 | 58.1049 | 38217 | 2220594
11 | 2035-2036 | 58.1049 | 38217 | 2220594
12 | 2036-2037 | 57.8992 | 37183.0833 | 2152872.4583
13 | 2037-2038 | 54.55 | 23659.1667 | 1290607.5417
| Total | 57.9142 | 481229.25 | 27870014

## Response #4
TABLE FOR RESPONSE TO DATA REQUIREMENTS #4
Purchased Renewable Energy Credits
Expenditure Summary
June 2017 - May 2023
Delivery Year | Jun17-May18 | Jun18-May19 | Jun19-May20 | Jun20-May21 | Jun21-May22 | Jun22-May23 | Jun23-May24 | Jun24-May25 | Cumulative Total
LT Renewable RECS | 22117987.68 | 21727751.85 | 21923647.21 | 21877717.84 | 18167086.17 | 16498184.72 | 13600905.42 | 12877827.69 | 148791108.58
Rate Stability RECS | 581033.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 581033.67
Self Supplier RECS | 41555.11 | 8382637.28 | 14768386.48 | 13730800.42 | -867307.68 | 35551549.19 | 38934396.22 | 39467772.23 | 150009789.25
Utility Scale RECS | 0 | 550988.96 | 1161905.97 | 2520023.53 | 9617613.87 | 12543555.06 | 14138585.27 | 14562158.09 | 55094830.75
Pay as You Go Adj Block RECS | 0 | 0 | 0 | 0 | 0 | 0 | 932873.75 | 12309586.08 | 13242459.83
Prepayment written off to Purchase Power Exp. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5508251.04 | 5508251.04
Pay as you Go Adj Block Prepayments | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021605.9 | 2021605.9
Adjustable Block RECS Prepayments | 0 | 0 | 36454030.83 | 129737100.1865 | 179481617.28 | 182077870.31 | 417789405.47 | 371878975.341 | 1317418999.4175
Adjustable Block Repayments | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1026850.43 | -1026850.43
Adjustable Block Drawdowns | 0 | 0 | 0 | 0 | 0 | 0 | -423678.28 | -1360456.88 | -1784135.16
Solar for All RECS Prepayments | 0 | 0 | 0 | 164074.88 | 1924975.34 | 7130478.51 | 16672353.98 | 44384608.59 | 70276491.3
Total | 22740576.46 | 30661378.09 | 74307970.49 | 168029716.8565 | 208323984.98 | 253801637.79 | 501644841.83 | 500623477.651 | 1760133584.1475

## Response #6-Base
TABLES FOR RESPONSE TO DATA REQUIREMENTS #6 - Base
Energized Capacity (kW)
Quarter | Small | Large | CS | Total
Q1 2025-2026 | 26457.1429 | 13892.8571 | 43579.8834 | 83929.8834
Q2 2025-2026 | 26457.1429 | 13892.8571 | 43579.8834 | 83929.8834
Q3 2025-2026 | 25385.7143 | 12964.2857 | 44083.7447 | 82433.7447
Q4 2025-2026 | 24850 | 12500 | 44335.6753 | 81685.6753
Q1 2026-2027 | 24850 | 12500 | 44335.6753 | 81685.6753
Q2 2026-2027 | 24850 | 12500 | 44335.6753 | 81685.6753
Q3 2026-2027 | 24850 | 12500 | 47880.1538 | 85230.1538
Q4 2026-2027 | 24850 | 12500 | 49652.393 | 87002.393
Q1 2027-2028 | 24850 | 12500 | 49652.393 | 87002.393
Q2 2027-2028 | 24850 | 12500 | 49652.393 | 87002.393
Q3 2027-2028 | 24850 | 12500 | 53621.9239 | 90971.9239
Q4 2027-2028 | 24850 | 12500 | 55606.6894 | 92956.6894
Total | 301950 | 153250 | 570316.4833 | 1025516.4833
No. of Systems Energized
Quarter | Small | Large | CS | Total
Q1 2025-2026 | 3616.1666 | 78.411 | 21.7899 | 3716.3675
Q2 2025-2026 | 3697.2244 | 78.411 | 21.7899 | 3797.4253
Q3 2025-2026 | 3547.4987 | 73.1701 | 22.0419 | 3642.7108
Q4 2025-2026 | 3472.6359 | 70.5497 | 22.1678 | 3565.3535
Q1 2026-2027 | 3472.6359 | 70.5497 | 22.1678 | 3565.3535
Q2 2026-2027 | 3472.6359 | 70.5497 | 22.1678 | 3565.3535
Q3 2026-2027 | 3472.6359 | 70.5497 | 23.9401 | 3567.1257
Q4 2026-2027 | 3472.6359 | 70.5497 | 24.8262 | 3568.0119
Q1 2027-2028 | 3472.6359 | 70.5497 | 24.8262 | 3568.0119
Q2 2027-2028 | 3472.6359 | 70.5497 | 24.8262 | 3568.0119
Q3 2027-2028 | 3472.6359 | 70.5497 | 26.811 | 3569.9966
Q4 2027-2028 | 3472.6359 | 70.5497 | 27.8033 | 3570.989
Total | 42114.6132 | 864.9396 | 285.1582 | 43264.711
Avg kW per System
Quarter | Small | Large | CS | Total
Q1 2025-2026 | 7.3164 | 177.18 | 2000 | 2184.4964
Q2 2025-2026 | 7.1559 | 177.18 | 2000 | 2184.3359
Q3 2025-2026 | 7.1559 | 177.18 | 2000 | 2184.3359
Q4 2025-2026 | 7.1559 | 177.18 | 2000 | 2184.3359
Q1 2026-2027 | 7.1559 | 177.18 | 2000 | 2184.3359
Q2 2026-2027 | 7.1559 | 177.18 | 2000 | 2184.3359
Q3 2026-2027 | 7.1559 | 177.18 | 2000 | 2184.3359
Q4 2026-2027 | 7.1559 | 177.18 | 2000 | 2184.3359
Q1 2027-2028 | 7.1559 | 177.18 | 2000 | 2184.3359
Q2 2027-2028 | 7.1559 | 177.18 | 2000 | 2184.3359
Q3 2027-2028 | 7.1559 | 177.18 | 2000 | 2184.3359
Q4 2027-2028 | 7.1559 | 177.18 | 2000 | 2184.3359
| 86.0318 | 2126.16 | 24000 | 26212.1918

## Response #6-No ITC
TABLES FOR RESPONSE TO DATA REQUIREMENTS #6 No ITC scenario
Energized Capacity (kW)
Quarter | Small | Large | CS | Total
Q1 2025-2026 | 26457.1429 | 13892.8571 | 43579.8834 | 83929.8834
Q2 2025-2026 | 26457.1429 | 13892.8571 | 43579.8834 | 83929.8834
Q3 2025-2026 | 21234.9948 | 12964.2857 | 41725.166 | 75924.4465
Q4 2025-2026 | 18623.9208 | 12500 | 40797.8073 | 71921.7281
Q1 2026-2027 | 18623.9208 | 12500 | 42920.5281 | 74044.4489
Q2 2026-2027 | 18623.9208 | 12500 | 40797.8073 | 71921.7281
Q3 2026-2027 | 15659.1211 | 12500 | 42802.7384 | 70961.8596
Q4 2026-2027 | 14176.7213 | 12500 | 41495.8829 | 68172.6043
Q1 2027-2028 | 14176.7213 | 12500 | 36616.7542 | 63293.4755
Q2 2027-2028 | 14176.7213 | 12500 | 40341.2224 | 67017.9437
Q3 2027-2028 | 14176.7213 | 12500 | 41135.1286 | 67811.8499
Q4 2027-2028 | 14176.7213 | 12500 | 40738.1755 | 67414.8968
Total | 216563.7705 | 153250 | 496530.9777 | 866344.7481
No. of Systems Energized
Quarter | Small | Large | CS | Total
Q1 2025-2026 | 3616.1666 | 78.411 | 21.7899 | 3716.3675
Q2 2025-2026 | 3697.2244 | 78.411 | 21.7899 | 3797.4253
Q3 2025-2026 | 2967.461 | 73.1701 | 20.8626 | 3061.4937
Q4 2025-2026 | 2602.5793 | 70.5497 | 20.3989 | 2693.528
Q1 2026-2027 | 2602.5793 | 70.5497 | 21.4603 | 2694.5893
Q2 2026-2027 | 2602.5793 | 70.5497 | 20.3989 | 2693.528
Q3 2026-2027 | 2188.2667 | 70.5497 | 21.4014 | 2280.2178
Q4 2026-2027 | 1981.1103 | 70.5497 | 20.7479 | 2072.408
Q1 2027-2028 | 1981.1103 | 70.5497 | 18.3084 | 2069.9684
Q2 2027-2028 | 1981.1103 | 70.5497 | 20.1706 | 2071.8307
Q3 2027-2028 | 1981.1103 | 70.5497 | 20.5676 | 2072.2276
Q4 2027-2028 | 1981.1103 | 70.5497 | 20.3691 | 2072.0292
Total | 30182.4084 | 864.9396 | 248.2655 | 31295.6135
Avg kW per System
Quarter | Small | Large | CS | Total
Q1 2025-2026 | 7.3164 | 177.18 | 2000 | 2184.4964
Q2 2025-2026 | 7.1559 | 177.18 | 2000 | 2184.3359
Q3 2025-2026 | 7.1559 | 177.18 | 2000 | 2184.3359
Q4 2025-2026 | 7.1559 | 177.18 | 2000 | 2184.3359
Q1 2026-2027 | 7.1559 | 177.18 | 2000 | 2184.3359
Q2 2026-2027 | 7.1559 | 177.18 | 2000 | 2184.3359
Q3 2026-2027 | 7.1559 | 177.18 | 2000 | 2184.3359
Q4 2026-2027 | 7.1559 | 177.18 | 2000 | 2184.3359
Q1 2027-2028 | 7.1559 | 177.18 | 2000 | 2184.3359
Q2 2027-2028 | 7.1559 | 177.18 | 2000 | 2184.3359
Q3 2027-2028 | 7.1559 | 177.18 | 2000 | 2184.3359
Q4 2027-2028 | 7.1559 | 177.18 | 2000 | 2184.3359
| 86.0318 | 2126.16 | 24000 | 26212.1918