## Chart
Field | Capital Cost ($/kW)
Dollar Year | Nominal
Nominal $/kW
| Resource | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Residential PV (17% CF) | 4813.5304 | 3216.827 | 3149.2103 | 3077.6022 | 3001.8701 | 2921.8777 | 2922.5922 | 2922.1536 | 2920.5285 | 2917.6695 | 2913.5279 | 2908.0675 | 2901.2091 | 2892.9131 | 2883.1248 | 2871.7879 | 2858.8595 | 2844.2496 | 2827.9118 | 2809.7828 | 2789.7974
| Utility PV (25% CF) | 2682.9539 | 1465.9117 | 1448.0009 | 1430.3749 | 1413.0358 | 1395.9593 | 1379.1686 | 1362.6355 | 1346.3544 | 1330.3448 | 1314.5716 | 1299.0513 | 1283.7861 | 1268.7483 | 1253.9361 | 1239.3611 | 1225.0197 | 1210.8908 | 1196.9664 | 1183.2693 | 1169.7898
| Onshore Wind (38% CF) | 1874.0597 | 1830.1975 | 1834.6262 | 1839.1398 | 1843.7527 | 1848.4554 | 1853.2499 | 1858.1381 | 1863.1215 | 1868.188 | 1873.3516 | 1878.6131 | 1883.9728 | 1889.431 | 1894.9726 | 1900.6262 | 1906.361 | 1912.2059 | 1918.144 | 1924.189 | 1930.3224
| Nuclear LWR (93% CF) | 10513.1021 | 10627.5696 | 10745.024 | 10862.9375 | 10981.2695 | 11099.9772 | 11013.2066 | 10918.5123 | 10815.6249 | 10704.2546 | 10584.1033 | 10568.5 | 10548.053 | 10522.5464 | 10491.815 | 10455.6302 | 10413.8167 | 10366.1328 | 10312.376 | 10252.3387 | 10185.7584
| Nuclear SMR (93% CF) | 13384.5471 | 13137.1317 | 12877.7995 | 12602.8392 | 12311.7293 | 12003.9339 | 11773.0996 | 11528.2176 | 11268.8311 | 10994.4578 | 10704.6021 | 10606.7302 | 10500.6617 | 10386.1077 | 10262.7713 | 10130.362 | 10103.347 | 10071.1993 | 10033.7243 | 9990.7219 | 9941.9858
| Gas CT - Frame | 2305.9269 | 2323.1545 | 2358.1182 | 2381.8098 | 2405.5059 | 2441.4127 | 2465.3336 | 2489.2477 | 2526.0824 | 2550.1722 | 2574.2151 | 2611.9565 | 2636.146 | 2660.2727 | 2698.8793 | 2723.1054 | 2747.2056 | 2786.673 | 2810.818 | 2834.8303 | 2875.0863
| Gas CCGT | 2985.2789 | 3020.717 | 3048.3521 | 3075.8961 | 3120.3623 | 3147.984 | 3175.4624 | 3220.8762 | 3248.3789 | 3294.52 | 3322.0043 | 3349.2702 | 3396.2767 | 3423.4454 | 3471.1283 | 3498.1625 | 3546.5 | 3595.3717 | 3622.2803 | 3671.7765 | 3698.3952
| Li-ion Battery (4-hr) | 1914.4754 | 1838.2031 | 1839.1215 | 1840.0876 | 1841.1061 | 1842.1935 | 1843.3297 | 1844.5312 | 1845.776 | 1847.0799 | 1710.0645 | 1716.433 | 1722.8818 | 1729.422 | 1736.0503 | 1742.7628 | 1749.5705 | 1756.4849 | 1763.4704 | 1770.5694 | 1777.7447
| Li-ion Battery (8-hr) | 3446.0623 | 3308.7725 | 3310.4117 | 3312.1554 | 3313.9982 | 3315.9458 | 3317.991 | 3320.1511 | 3322.4046 | 3324.7545 | 3078.1216 | 3089.571 | 3101.1817 | 3112.9452 | 3124.8817 | 3136.9821 | 3149.2361 | 3161.6635 | 3174.2531 | 3187.025 | 3199.9505
| Generic LDES (100-hr) | 6880.9824 | 6902.1955 | 6923.491 | 6944.8324 | 6966.252 | 6987.735 | 7009.29 | 7030.8999 | 7052.585 | 7074.3264 | 7096.1444 | 7118.0321 | 7139.9815 | 7161.9982 | 7184.0872 | 7206.2385 | 7228.456 | 7250.7589 | 7273.1195 | 7295.5398 | 7318.038

## Output Tables
Year-by-Year Levelized Resource Costs
All values expressed in real $2025 unless otherwise noted.
|  | Residential PV (17% CF) | Utility PV (25% CF) | Onshore Wind (38% CF) | Nuclear LWR (93% CF) | Nuclear SMR (93% CF) | Gas CT - Frame | Gas CCGT | Li-ion Battery (4-hr) | Li-ion Battery (8-hr) | Generic LDES (100-hr)
| Technology | Solar | Solar | Wind | Nuclear | Nuclear | Gas | Gas | Li-ion Battery | Li-ion Battery | Generic LDES
| Type | Residential PV | Utility PV | Onshore | AP1000 | Small Modular Reactor | CT - Frame - F Class | CCGT - F Class | Utility Standalone | Utility Standalone | Generic 100-hr
| Storage Duration (hr) | [7 empty] | 4 | 8 | 100
| State/Province | IL | IL | IL | IL | IL | IL | IL | IL | IL | IL
| ITC/PTC | ITC | PTC | PTC | ITC | ITC | None | None | ITC | ITC | ITC
1 | Capacity Factor, % (NOTE: Capacity Factors for wind and solar are linked to resource profiles; a single cap factor is shown here for illustration but each zone will have its own profile and cap factor ¦ Capacity Factors for gas, batteries, and LDES are illustrative and will be determined through dispatch within the PLEXOS model)
| 2030 | 17.4% | 26.18% | 40.18% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2031 | 17.41% | 26.34% | 40.21% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2032 | 17.43% | 26.5% | 40.25% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2033 | 17.45% | 26.66% | 40.28% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2034 | 17.47% | 26.82% | 40.31% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2035 | 17.49% | 26.98% | 40.34% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2036 | 17.52% | 27.09% | 40.38% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2037 | 17.55% | 27.2% | 40.41% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2038 | 17.58% | 27.32% | 40.44% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2039 | 17.61% | 27.43% | 40.47% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2040 | 17.64% | 27.54% | 40.51% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2041 | 17.67% | 27.65% | 40.54% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2042 | 17.7% | 27.76% | 40.57% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2043 | 17.73% | 27.87% | 40.6% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2044 | 17.76% | 27.98% | 40.64% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2045 | 17.79% | 28.09% | 40.67% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2046 | 17.82% | 28.2% | 40.7% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2047 | 17.85% | 28.31% | 40.73% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2048 | 17.88% | 28.42% | 40.77% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2049 | 17.91% | 28.53% | 40.8% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2050 | 17.94% | 28.64% | 40.83% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2051 | 17.94% | 28.64% | 40.83% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2052 | 17.94% | 28.64% | 40.83% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2053 | 17.94% | 28.64% | 40.83% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2054 | 17.94% | 28.64% | 40.83% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2055 | 17.94% | 28.64% | 40.83% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2056 | 17.94% | 28.64% | 40.83% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2057 | 17.94% | 28.64% | 40.83% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2058 | 17.94% | 28.64% | 40.83% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2059 | 17.94% | 28.64% | 40.83% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
| 2060 | 17.94% | 28.64% | 40.83% | 93% | 93% | 10% | 60% | 12.75% | 25.5% | 2.055%
2 | Nominal After-Tax WACC, %
| 2030 | 8.674% | 7.418% | 7.561% | 10.5% | 10.5% | 7.325% | 7.325% | 7.353% | 7.353% | 10.47%
| 2031 | 8.674% | 7.125% | 7.154% | 10.5% | 10.5% | 7.325% | 7.325% | 7.353% | 7.353% | 10.47%
| 2032 | 8.674% | 7.125% | 7.154% | 10.5% | 10.5% | 7.325% | 7.325% | 7.353% | 7.353% | 10.47%
| 2033 | 8.674% | 7.125% | 7.154% | 10.5% | 10.5% | 7.325% | 7.325% | 7.353% | 7.353% | 10.47%
| 2034 | 8.674% | 7.125% | 7.154% | 10.5% | 10.5% | 7.325% | 7.325% | 7.353% | 7.353% | 10.47%
| 2035 | 8.674% | 7.125% | 7.154% | 10.5% | 10.5% | 7.325% | 7.325% | 7.353% | 7.353% | 10.47%
| 2036 | 8.674% | 7.125% | 7.154% | 10.5% | 10.5% | 7.325% | 7.325% | 7.353% | 7.353% | 10.47%
| 2037 | 8.674% | 7.125% | 7.154% | 10.5% | 10.5% | 7.325% | 7.325% | 7.353% | 7.353% | 10.47%
| 2038 | 8.674% | 7.125% | 7.154% | 10.45% | 10.45% | 7.325% | 7.325% | 7.296% | 7.296% | 10.41%
| 2039 | 8.674% | 7.125% | 7.154% | 10.4% | 10.4% | 7.325% | 7.325% | 7.239% | 7.239% | 10.35%
| 2040 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2041 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2042 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2043 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2044 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2045 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2046 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2047 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2048 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2049 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2050 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2051 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2052 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2053 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2054 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2055 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2056 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2057 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2058 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2059 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
| 2060 | 8.674% | 7.125% | 7.154% | 10.29% | 10.29% | 7.325% | 7.325% | 7.124% | 7.124% | 10.23%
3 | CAPEX (excludes interconnection costs), $/kW
| 2030 | 4311.44 | 2403.1 | 1678.58 | 9416.5 | 11988.43 | 2065.4 | 2673.89 | 1714.78 | 3086.61 | 6163.24
| 2031 | 2824.79 | 1287.26 | 1607.15 | 9332.38 | 11536.1 | 2040.03 | 2652.58 | 1614.18 | 2905.53 | 6061.02
| 2032 | 2711.19 | 1246.6 | 1579.45 | 9250.51 | 11086.64 | 2030.13 | 2624.36 | 1583.32 | 2849.97 | 5960.51
| 2033 | 2597.59 | 1207.28 | 1552.29 | 9168.65 | 10637.18 | 2010.32 | 2596.15 | 1553.09 | 2795.56 | 5861.65
| 2034 | 2483.99 | 1169.26 | 1525.67 | 9086.79 | 10187.72 | 1990.51 | 2582.04 | 1523.48 | 2742.27 | 5764.44
| 2035 | 2370.39 | 1132.48 | 1499.57 | 9004.92 | 9738.26 | 1980.61 | 2553.82 | 1494.49 | 2690.08 | 5668.84
| 2036 | 2324.48 | 1096.92 | 1473.98 | 8759.34 | 9363.72 | 1960.8 | 2525.6 | 1466.09 | 2638.96 | 5574.83
| 2037 | 2278.56 | 1062.52 | 1448.89 | 8513.75 | 8989.17 | 1941 | 2511.49 | 1438.28 | 2588.9 | 5482.37
| 2038 | 2232.64 | 1029.24 | 1424.29 | 8268.16 | 8614.62 | 1931.1 | 2483.27 | 1411.03 | 2539.86 | 5391.45
| 2039 | 2186.72 | 997.06 | 1400.16 | 8022.57 | 8240.07 | 1911.29 | 2469.16 | 1384.34 | 2491.82 | 5302.03
| 2040 | 2140.8 | 965.92 | 1376.5 | 7776.98 | 7865.52 | 1891.48 | 2440.94 | 1256.52 | 2261.74 | 5214.1
| 2041 | 2094.89 | 935.8 | 1353.3 | 7613.25 | 7640.79 | 1881.58 | 2412.72 | 1236.47 | 2225.64 | 5127.63
| 2042 | 2048.97 | 906.67 | 1330.55 | 7449.53 | 7416.06 | 1861.77 | 2398.61 | 1216.78 | 2190.2 | 5042.59
| 2043 | 2003.05 | 878.48 | 1308.24 | 7285.8 | 7191.33 | 1841.97 | 2370.39 | 1197.45 | 2155.4 | 4958.96
| 2044 | 1957.13 | 851.2 | 1286.35 | 7122.08 | 6966.6 | 1832.06 | 2356.28 | 1178.47 | 2121.24 | 4876.72
| 2045 | 1911.21 | 824.81 | 1264.89 | 6958.35 | 6741.88 | 1812.26 | 2328.07 | 1159.83 | 2087.7 | 4795.84
| 2046 | 1865.3 | 799.28 | 1243.83 | 6794.63 | 6592.06 | 1792.45 | 2313.96 | 1141.53 | 2054.76 | 4716.3
| 2047 | 1819.38 | 774.57 | 1223.18 | 6630.9 | 6442.24 | 1782.55 | 2299.85 | 1123.57 | 2022.42 | 4638.09
| 2048 | 1773.46 | 750.65 | 1202.92 | 6467.17 | 6292.42 | 1762.74 | 2271.63 | 1105.92 | 1990.66 | 4561.17
| 2049 | 1727.54 | 727.51 | 1183.05 | 6303.45 | 6142.6 | 1742.94 | 2257.52 | 1088.6 | 1959.48 | 4485.52
| 2050 | 1681.62 | 705.12 | 1163.55 | 6139.72 | 5992.78 | 1733.03 | 2229.3 | 1071.58 | 1928.85 | 4411.13
| 2051 | 1635.7 | 681.18 | 1143.28 | 5976 | 5842.96 | 1713.23 | 2215.19 | 1053.93 | 1897.08 | 4334.19
| 2052 | 1589.79 | 657.24 | 1123.01 | 5812.27 | 5693.14 | 1703.33 | 2201.08 | 1036.28 | 1865.31 | 4257.25
| 2053 | 1543.87 | 633.3 | 1102.74 | 5648.54 | 5543.32 | 1683.52 | 2172.86 | 1018.63 | 1833.54 | 4180.31
| 2054 | 1497.95 | 609.36 | 1082.48 | 5484.82 | 5393.5 | 1663.71 | 2158.75 | 1000.98 | 1801.77 | 4103.36
| 2055 | 1452.03 | 585.43 | 1062.21 | 5321.09 | 5243.68 | 1653.81 | 2130.53 | 983.33 | 1770 | 4026.42
| 2056 | 1406.11 | 561.49 | 1041.94 | 5157.37 | 5093.86 | 1634 | 2116.42 | 965.68 | 1738.23 | 3949.48
| 2057 | 1360.2 | 537.55 | 1021.67 | 4993.64 | 4944.04 | 1614.2 | 2102.31 | 948.03 | 1706.46 | 3872.54
| 2058 | 1314.28 | 513.61 | 1001.4 | 4829.91 | 4794.22 | 1604.29 | 2074.09 | 930.38 | 1674.69 | 3795.6
| 2059 | 1268.36 | 489.67 | 981.14 | 4666.19 | 4644.4 | 1584.49 | 2059.99 | 912.73 | 1642.92 | 3718.65
| 2060 | 1222.44 | 465.73 | 960.87 | 4502.46 | 4494.58 | 1564.68 | 2031.77 | 895.08 | 1611.14 | 3641.71
9 | Fixed O&M, $/kW-yr
| 2030 | 34.17 | 24.15 | 36.66 | 219.5 | 170.58 | 32.41 | 37.51 | 37.07 | 65.09 | 65.06
| 2031 | 33.02 | 23.34 | 36.41 | 219.5 | 170.58 | 32.16 | 37.04 | 36.5 | 64.01 | 65.06
| 2032 | 31.86 | 22.55 | 36.16 | 219.5 | 170.58 | 32.03 | 36.68 | 35.93 | 62.93 | 65.06
| 2033 | 30.71 | 21.75 | 35.9 | 219.5 | 170.58 | 31.77 | 36.21 | 35.35 | 61.85 | 65.06
| 2034 | 29.55 | 20.95 | 35.65 | 219.5 | 170.58 | 31.64 | 35.86 | 34.78 | 60.77 | 65.06
| 2035 | 28.39 | 20.16 | 35.4 | 219.5 | 170.58 | 31.38 | 35.5 | 34.21 | 59.69 | 65.06
| 2036 | 27.93 | 19.96 | 35.15 | 219.5 | 170.58 | 31.25 | 35.15 | 33.64 | 58.61 | 65.06
| 2037 | 27.46 | 19.75 | 34.9 | 219.5 | 170.58 | 30.99 | 34.91 | 33.07 | 57.53 | 65.06
| 2038 | 26.99 | 19.55 | 34.65 | 219.71 | 170.75 | 30.86 | 34.68 | 32.5 | 56.45 | 65.06
| 2039 | 26.53 | 19.35 | 34.4 | 219.88 | 170.87 | 30.73 | 34.44 | 31.93 | 55.37 | 65.06
| 2040 | 26.06 | 19.14 | 34.15 | 220.04 | 171 | 30.47 | 34.21 | 31.35 | 54.3 | 65.06
| 2041 | 25.59 | 18.94 | 33.9 | 220.04 | 171 | 30.34 | 33.85 | 30.78 | 53.22 | 65.06
| 2042 | 25.12 | 18.74 | 33.64 | 220.04 | 171 | 30.08 | 33.62 | 30.21 | 52.14 | 65.06
| 2043 | 24.66 | 18.54 | 33.39 | 220.04 | 171 | 29.95 | 33.38 | 29.64 | 51.07 | 65.06
| 2044 | 24.19 | 18.33 | 33.14 | 220.04 | 171 | 29.69 | 33.14 | 29.07 | 50 | 65.06
| 2045 | 23.72 | 18.13 | 32.89 | 220.04 | 171 | 29.56 | 32.79 | 28.5 | 48.92 | 65.06
| 2046 | 23.26 | 17.93 | 32.64 | 220.04 | 171 | 29.3 | 32.55 | 27.92 | 47.85 | 65.06
| 2047 | 22.79 | 17.73 | 32.39 | 220.04 | 171 | 29.17 | 32.32 | 27.35 | 46.78 | 65.06
| 2048 | 22.32 | 17.53 | 32.14 | 220.04 | 171 | 28.91 | 32.08 | 26.78 | 45.71 | 65.06
| 2049 | 21.85 | 17.33 | 31.89 | 220.04 | 171 | 28.78 | 31.85 | 26.21 | 44.64 | 65.06
| 2050 | 21.39 | 17.13 | 31.63 | 220.04 | 171 | 28.52 | 31.49 | 25.64 | 43.57 | 65.06
| 2051 | 20.92 | 16.93 | 31.38 | 220.04 | 171 | 28.32 | 31.23 | 25.07 | 42.5 | 65.06
| 2052 | 20.45 | 16.73 | 31.13 | 220.04 | 171 | 28.11 | 30.97 | 24.5 | 41.43 | 65.06
| 2053 | 19.99 | 16.53 | 30.88 | 220.04 | 171 | 27.9 | 30.71 | 23.93 | 40.36 | 65.06
| 2054 | 19.52 | 16.33 | 30.63 | 220.04 | 171 | 27.69 | 30.45 | 23.35 | 39.29 | 65.06
| 2055 | 19.05 | 16.13 | 30.38 | 220.04 | 171 | 27.49 | 30.2 | 22.78 | 38.22 | 65.06
| 2056 | 18.58 | 15.93 | 30.13 | 220.04 | 171 | 27.28 | 29.94 | 22.21 | 37.15 | 65.06
| 2057 | 18.12 | 15.73 | 29.88 | 220.04 | 171 | 27.07 | 29.68 | 21.64 | 36.08 | 65.06
| 2058 | 17.65 | 15.53 | 29.63 | 220.04 | 171 | 26.87 | 29.42 | 21.07 | 35.01 | 65.06
| 2059 | 17.18 | 15.33 | 29.37 | 220.04 | 171 | 26.66 | 29.16 | 20.5 | 33.94 | 65.06
| 2060 | 16.71 | 15.13 | 29.12 | 220.04 | 171 | 26.45 | 28.9 | 19.93 | 32.87 | 65.06
11 | Variable O&M, $/MWh
| 2030 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.25 | 0 | 0 | 0
| 2031 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.22 | 0 | 0 | 0
| 2032 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.21 | 0 | 0 | 0
| 2033 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.19 | 0 | 0 | 0
| 2034 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.18 | 0 | 0 | 0
| 2035 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.16 | 0 | 0 | 0
| 2036 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.15 | 0 | 0 | 0
| 2037 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.14 | 0 | 0 | 0
| 2038 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.13 | 0 | 0 | 0
| 2039 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.1 | 0 | 0 | 0
| 2040 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.09 | 0 | 0 | 0
| 2041 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.08 | 0 | 0 | 0
| 2042 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.07 | 0 | 0 | 0
| 2043 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.06 | 0 | 0 | 0
| 2044 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.05 | 0 | 0 | 0
| 2045 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.04 | 0 | 0 | 0
| 2046 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2.02 | 0 | 0 | 0
| 2047 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 2 | 0 | 0 | 0
| 2048 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 1.99 | 0 | 0 | 0
| 2049 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 1.98 | 0 | 0 | 0
| 2050 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 1.97 | 0 | 0 | 0
| 2051 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 1.97 | 0 | 0 | 0
| 2052 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 1.97 | 0 | 0 | 0
| 2053 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 1.97 | 0 | 0 | 0
| 2054 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 1.97 | 0 | 0 | 0
| 2055 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 1.97 | 0 | 0 | 0
| 2056 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 1.97 | 0 | 0 | 0
| 2057 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 1.97 | 0 | 0 | 0
| 2058 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 1.97 | 0 | 0 | 0
| 2059 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 1.97 | 0 | 0 | 0
| 2060 | 0 | 0 | 0 | 3.08 | 2.86 | 7.64 | 1.97 | 0 | 0 | 0
21 | Levelized Fixed Cost, Nominal $/kW-yr (Reminder: these are the costs that go into the capacity expansion model, PLEXOS LT)
| 2030 | 416.69 | 193.15 | 107.71 | 805.23 | 880.42 | 302.66 | 382.6 | 150.22 | 259.83 | 553.41
| 2031 | 291.81 | 143.17 | 192.81 | 816.69 | 873.05 | 305.26 | 387 | 146.98 | 253.71 | 556.71
| 2032 | 285.9 | 141.57 | 193.91 | 828.41 | 865.2 | 309.94 | 390.72 | 147.43 | 254.23 | 560.05
| 2033 | 279.63 | 139.97 | 195.03 | 840.27 | 856.68 | 313.25 | 394.27 | 147.87 | 254.74 | 563.43
| 2034 | 273 | 138.37 | 196.16 | 852.27 | 847.48 | 316.75 | 399.81 | 148.31 | 255.23 | 566.86
| 2035 | 265.99 | 136.75 | 197.31 | 864.42 | 837.57 | 321.39 | 403.54 | 148.75 | 255.7 | 570.33
| 2036 | 266.17 | 135.97 | 198.47 | 866.73 | 831.48 | 324.94 | 407.27 | 149.18 | 256.16 | 573.84
| 2037 | 266.25 | 135.2 | 199.65 | 868.78 | 824.81 | 328.31 | 413.1 | 149.6 | 256.6 | 577.4
| 2038 | 266.23 | 134.46 | 200.85 | 977.14 | 929.41 | 333.28 | 417.02 | 166.07 | 286.08 | 653.64
| 2039 | 266.1 | 133.74 | 202.06 | 1092.46 | 1037.65 | 336.89 | 422.96 | 183.34 | 317.04 | 735.72
| 2040 | 265.86 | 133.05 | 203.29 | 1361.25 | 1298.02 | 340.31 | 426.9 | 209.18 | 364.03 | 922.91
| 2041 | 265.5 | 132.37 | 204.53 | 1366.64 | 1294.02 | 345.42 | 430.64 | 210.04 | 365.25 | 927.61
| 2042 | 265.02 | 131.71 | 205.79 | 1371.7 | 1289.33 | 348.87 | 436.7 | 210.89 | 366.45 | 932.35
| 2043 | 264.41 | 131.08 | 207.06 | 1376.42 | 1283.94 | 352.55 | 440.64 | 211.74 | 367.64 | 937.15
| 2044 | 263.68 | 130.46 | 208.35 | 1380.78 | 1277.82 | 357.57 | 446.8 | 212.58 | 368.81 | 942
| 2045 | 262.81 | 129.86 | 209.66 | 1384.77 | 1270.94 | 361.29 | 450.54 | 213.41 | 369.97 | 946.91
| 2046 | 261.8 | 129.29 | 210.99 | 1388.36 | 1274.3 | 364.77 | 456.79 | 214.24 | 371.1 | 951.87
| 2047 | 260.64 | 128.73 | 212.33 | 1391.54 | 1277.29 | 370.16 | 463.12 | 215.07 | 372.22 | 956.89
| 2048 | 259.33 | 128.19 | 213.68 | 1394.29 | 1279.89 | 373.67 | 467.09 | 215.88 | 373.31 | 961.97
| 2049 | 257.87 | 127.66 | 215.06 | 1396.6 | 1282.08 | 377.42 | 473.5 | 216.69 | 374.39 | 967.1
| 2050 | 256.24 | 127.16 | 216.45 | 1398.44 | 1283.84 | 382.69 | 477.23 | 217.49 | 375.44 | 972.29
| 2051 | 254.45 | 126.39 | 217.71 | 1399.79 | 1285.17 | 386.32 | 483.68 | 218.14 | 376.21 | 976.81
| 2052 | 252.48 | 125.55 | 218.94 | 1400.64 | 1286.03 | 391.78 | 490.2 | 218.73 | 376.86 | 981.12
| 2053 | 250.33 | 124.61 | 220.12 | 1400.97 | 1286.42 | 395.43 | 494.11 | 219.25 | 377.38 | 985.21
| 2054 | 248 | 123.59 | 221.27 | 1400.75 | 1286.3 | 399.06 | 500.71 | 219.71 | 377.78 | 989.07
| 2055 | 245.47 | 122.48 | 222.38 | 1399.95 | 1285.67 | 404.64 | 504.6 | 220.1 | 378.04 | 992.69
| 2056 | 242.74 | 121.28 | 223.44 | 1398.57 | 1284.49 | 408.29 | 511.27 | 220.42 | 378.16 | 996.07
| 2057 | 239.8 | 119.98 | 224.45 | 1396.57 | 1282.76 | 411.92 | 518.02 | 220.66 | 378.14 | 999.18
| 2058 | 236.65 | 118.58 | 225.42 | 1393.93 | 1280.44 | 417.6 | 521.87 | 220.82 | 377.96 | 1002.01
| 2059 | 233.28 | 117.07 | 226.33 | 1390.63 | 1277.51 | 421.24 | 528.68 | 220.91 | 377.62 | 1004.56
| 2060 | 229.67 | 115.46 | 227.19 | 1386.64 | 1273.96 | 424.85 | 532.49 | 220.9 | 377.12 | 1006.81
22 | LCOE, Nominal $/MWh (These costs are shown for illustration and reference only based on representative energy output estimates. Actual energy production is determined within the model's dispatch logic)
| 2030 | 279.08 | 87.91 | 30.6 | 117.92 | 125.02 | 398.05 | 103.01 | 134.5 | 116.32 | 3074.48
| 2031 | 195.24 | 63.77 | 54.73 | 119.7 | 124.45 | 402.06 | 104.35 | 131.59 | 113.58 | 3092.81
| 2032 | 191.08 | 62.67 | 55 | 121.53 | 123.82 | 408.49 | 105.58 | 132 | 113.81 | 3111.37
| 2033 | 186.7 | 61.59 | 55.27 | 123.38 | 123.12 | 413.35 | 106.78 | 132.4 | 114.04 | 3130.17
| 2034 | 182.08 | 60.52 | 55.55 | 125.26 | 122.34 | 418.47 | 108.38 | 132.79 | 114.26 | 3149.2
| 2035 | 177.22 | 59.46 | 55.83 | 127.16 | 121.48 | 424.9 | 109.63 | 133.18 | 114.47 | 3168.48
| 2036 | 177.03 | 58.88 | 56.11 | 127.86 | 121.1 | 430.12 | 110.98 | 133.56 | 114.68 | 3188
| 2037 | 176.78 | 58.31 | 56.4 | 128.53 | 120.66 | 435.14 | 112.74 | 133.94 | 114.87 | 3207.76
| 2038 | 176.46 | 57.75 | 56.69 | 141.96 | 133.6 | 442.02 | 114.15 | 148.69 | 128.07 | 3631.33
| 2039 | 176.08 | 57.21 | 56.99 | 156.25 | 147 | 447.38 | 115.95 | 164.15 | 141.93 | 4087.31
| 2040 | 175.61 | 56.69 | 57.29 | 189.09 | 178.82 | 452.54 | 117.39 | 187.29 | 162.97 | 5127.29
| 2041 | 175.08 | 56.17 | 57.59 | 190.19 | 178.72 | 459.65 | 118.8 | 188.05 | 163.51 | 5153.37
| 2042 | 174.46 | 55.67 | 57.9 | 191.26 | 178.54 | 464.9 | 120.68 | 188.82 | 164.05 | 5179.74
| 2043 | 173.77 | 55.18 | 58.21 | 192.3 | 178.28 | 470.43 | 122.16 | 189.58 | 164.58 | 5206.4
| 2044 | 172.99 | 54.71 | 58.53 | 193.3 | 177.94 | 477.52 | 124.08 | 190.33 | 165.11 | 5233.36
| 2045 | 172.13 | 54.24 | 58.85 | 194.26 | 177.52 | 483.15 | 125.55 | 191.08 | 165.62 | 5260.62
| 2046 | 171.18 | 53.79 | 59.17 | 195.19 | 178.36 | 488.54 | 127.5 | 191.82 | 166.13 | 5288.18
| 2047 | 170.14 | 53.35 | 59.5 | 196.07 | 179.17 | 496.14 | 129.49 | 192.56 | 166.63 | 5316.06
| 2048 | 169 | 52.92 | 59.84 | 196.92 | 179.94 | 501.61 | 131.05 | 193.29 | 167.12 | 5344.25
| 2049 | 167.76 | 52.5 | 60.17 | 197.72 | 180.66 | 507.4 | 133.1 | 194.01 | 167.6 | 5372.77
| 2050 | 166.42 | 52.09 | 60.51 | 198.47 | 181.34 | 514.95 | 134.64 | 194.73 | 168.07 | 5401.61
| 2051 | 165.26 | 51.78 | 60.87 | 199.17 | 181.98 | 520.65 | 136.75 | 195.31 | 168.42 | 5426.71
| 2052 | 163.98 | 51.43 | 61.21 | 199.82 | 182.57 | 528.47 | 138.88 | 195.84 | 168.71 | 5450.65
| 2053 | 162.59 | 51.05 | 61.54 | 200.42 | 183.11 | 534.26 | 140.54 | 196.31 | 168.94 | 5473.38
| 2054 | 161.07 | 50.63 | 61.86 | 200.96 | 183.6 | 540.07 | 142.73 | 196.72 | 169.12 | 5494.84
| 2055 | 159.43 | 50.18 | 62.17 | 201.44 | 184.04 | 548.12 | 144.41 | 197.07 | 169.24 | 5514.97
| 2056 | 157.65 | 49.68 | 62.47 | 201.86 | 184.42 | 554.01 | 146.65 | 197.35 | 169.29 | 5533.7
| 2057 | 155.75 | 49.15 | 62.75 | 202.22 | 184.74 | 559.92 | 148.92 | 197.57 | 169.28 | 5550.98
| 2058 | 153.7 | 48.58 | 63.02 | 202.51 | 185 | 568.2 | 150.66 | 197.71 | 169.2 | 5566.73
| 2059 | 151.51 | 47.96 | 63.28 | 202.73 | 185.2 | 574.18 | 152.99 | 197.78 | 169.05 | 5580.9
| 2060 | 149.17 | 47.3 | 63.52 | 202.88 | 185.33 | 580.17 | 154.76 | 197.78 | 168.82 | 5593.4

## Inflation
Forecast Inflation Rate | 2%
Trend (years) | 5
Source: | https://www.bls.gov/regions/mid-atlantic/data/consumerpriceindexannualandsemiannual_table.htm
Year | Annual CPI-U | Annual Inflation | Years for Plots
2012 | 229.594 |  | 2020
2013 | 232.957 | 1.465% | 2021
2014 | 236.736 | 1.622% | 2022
2015 | 237.017 | 0.1187% | 2023
2016 | 240.007 | 1.262% | 2024
2017 | 245.12 | 2.13% | 2025
2018 | 251.107 | 2.442% | Nominal
2019 | 255.657 | 1.812%
2020 | 258.811 | 1.234%
2021 | 270.97 | 4.698%
2022 | 292.655 | 8.003%
2023 | 304.702 | 4.116%
2024 | 313.689 | 2.949%
2025 | 322.3454 | 2.76%
2026 | 330.6286 | 2.57%
2027 | 338.4968 | 2.38%
2028 | 345.9095 | 2.19%
2029 | 352.8277 | 2%
2030 | 359.8843 | 2%
2031 | 367.082 | 2%
2032 | 374.4236 | 2%
2033 | 381.9121 | 2%
2034 | 389.5503 | 2%
2035 | 397.3413 | 2%
2036 | 405.2881 | 2%
2037 | 413.3939 | 2%
2038 | 421.6618 | 2%
2039 | 430.095 | 2%
2040 | 438.6969 | 2%
2041 | 447.4708 | 2%
2042 | 456.4203 | 2%
2043 | 465.5487 | 2%
2044 | 474.8596 | 2%
2045 | 484.3568 | 2%
2046 | 494.044 | 2%
2047 | 503.9249 | 2%
2048 | 514.0034 | 2%
2049 | 524.2834 | 2%
2050 | 534.7691 | 2%
2051 | 545.4645 | 2%
2052 | 556.3738 | 2%
2053 | 567.5012 | 2%
2054 | 578.8513 | 2%
2055 | 590.4283 | 2%
2056 | 602.2368 | 2%
2057 | 614.2816 | 2%
2058 | 626.5672 | 2%
2059 | 639.0986 | 2%
2060 | 651.8805 | 2%
2061 | 664.9181 | 2%
2062 | 678.2165 | 2%
2063 | 691.7808 | 2%
2064 | 705.6165 | 2%
2065 | 719.7288 | 2%
2066 | 734.1234 | 2%
2067 | 748.8058 | 2%
2068 | 763.7819 | 2%
2069 | 779.0576 | 2%
2070 | 794.6387 | 2%
2071 | 810.5315 | 2%
2072 | 826.7421 | 2%
2073 | 843.277 | 2%
2074 | 860.1425 | 2%
2075 | 877.3454 | 2%
2076 | 894.8923 | 2%
2077 | 912.7901 | 2%
2078 | 931.0459 | 2%
2079 | 949.6668 | 2%
2080 | 968.6602 | 2%
2081 | 988.0334 | 2%
2082 | 1007.7941 | 2%
2083 | 1027.9499 | 2%
2084 | 1048.5089 | 2%
2085 | 1069.4791 | 2%
2086 | 1090.8687 | 2%
2087 | 1112.6861 | 2%
2088 | 1134.9398 | 2%
2089 | 1157.6386 | 2%
2090 | 1180.7914 | 2%
2091 | 1204.4072 | 2%
2092 | 1228.4953 | 2%
2093 | 1253.0652 | 2%
2094 | 1278.1265 | 2%
2095 | 1303.6891 | 2%
2096 | 1329.7628 | 2%
2097 | 1356.3581 | 2%
2098 | 1383.4853 | 2%
2099 | 1411.155 | 2%
2100 | 1439.3781 | 2%
2101 | 1468.1656 | 2%
2102 | 1497.5289 | 2%
2103 | 1527.4795 | 2%
2104 | 1558.0291 | 2%
2105 | 1589.1897 | 2%
2106 | 1620.9735 | 2%
2107 | 1653.393 | 2%
2108 | 1686.4608 | 2%
2109 | 1720.19 | 2%
2110 | 1754.5938 | 2%
2111 | 1789.6857 | 2%
2112 | 1825.4794 | 2%
2113 | 1861.989 | 2%
2114 | 1899.2288 | 2%
2115 | 1937.2134 | 2%
2116 | 1975.9576 | 2%
2117 | 2015.4768 | 2%
2118 | 2055.7863 | 2%
2119 | 2096.9021 | 2%
2120 | 2138.8401 | 2%
2121 | 2181.6169 | 2%
2122 | 2225.2492 | 2%
2123 | 2269.7542 | 2%
2124 | 2315.1493 | 2%
2125 | 2361.4523 | 2%
2126 | 2408.6813 | 2%
2127 | 2456.855 | 2%
2128 | 2505.9921 | 2%
2129 | 2556.1119 | 2%
2130 | 2607.2341 | 2%
2131 | 2659.3788 | 2%
2132 | 2712.5664 | 2%
2133 | 2766.8177 | 2%
2134 | 2822.1541 | 2%
2135 | 2878.5972 | 2%
2136 | 2936.1691 | 2%
2137 | 2994.8925 | 2%
2138 | 3054.7903 | 2%
2139 | 3115.8862 | 2%
2140 | 3178.2039 | 2%
2141 | 3241.768 | 2%
2142 | 3306.6033 | 2%
2143 | 3372.7354 | 2%
2144 | 3440.1901 | 2%
2145 | 3508.9939 | 2%
2146 | 3579.1738 | 2%
2147 | 3650.7572 | 2%
2148 | 3723.7724 | 2%
2149 | 3798.2478 | 2%
2150 | 3874.2128 | 2%
2151 | 3951.697 | 2%
2152 | 4030.731 | 2%
2153 | 4111.3456 | 2%
2154 | 4193.5725 | 2%
2155 | 4277.444 | 2%
2156 | 4362.9928 | 2%
2157 | 4450.2527 | 2%
2158 | 4539.2578 | 2%
2159 | 4630.0429 | 2%
2160 | 4722.6438 | 2%
2161 | 4817.0966 | 2%
2162 | 4913.4386 | 2%
2163 | 5011.7074 | 2%
2164 | 5111.9415 | 2%
2165 | 5214.1803 | 2%
2166 | 5318.4639 | 2%
2167 | 5424.8332 | 2%
2168 | 5533.3299 | 2%
2169 | 5643.9965 | 2%
2170 | 5756.8764 | 2%
2171 | 5872.0139 | 2%
2172 | 5989.4542 | 2%
2173 | 6109.2433 | 2%
2174 | 6231.4282 | 2%
2175 | 6356.0567 | 2%
2176 | 6483.1779 | 2%
2177 | 6612.8414 | 2%
2178 | 6745.0982 | 2%
2179 | 6880.0002 | 2%
2180 | 7017.6002 | 2%
2181 | 7157.9522 | 2%
2182 | 7301.1113 | 2%
2183 | 7447.1335 | 2%
2184 | 7596.0762 | 2%
2185 | 7747.9977 | 2%
2186 | 7902.9576 | 2%
2187 | 8061.0168 | 2%
2188 | 8222.2371 | 2%
2189 | 8386.6819 | 2%
2190 | 8554.4155 | 2%
2191 | 8725.5038 | 2%
2192 | 8900.0139 | 2%
2193 | 9078.0142 | 2%
2194 | 9259.5745 | 2%
2195 | 9444.7659 | 2%
2196 | 9633.6613 | 2%
2197 | 9826.3345 | 2%
2198 | 10022.8612 | 2%
2199 | 10223.3184 | 2%
2200 | 10427.7848 | 2%
2201 | 10636.3405 | 2%
2202 | 10849.0673 | 2%
2203 | 11066.0486 | 2%
2204 | 11287.3696 | 2%
2205 | 11513.117 | 2%
2206 | 11743.3793 | 2%
2207 | 11978.2469 | 2%
2208 | 12217.8118 | 2%
2209 | 12462.1681 | 2%
2210 | 12711.4114 | 2%
2211 | 12965.6397 | 2%
2212 | 13224.9525 | 2%
2213 | 13489.4515 | 2%
2214 | 13759.2405 | 2%
2215 | 14034.4254 | 2%

## Lists
Year | Fields for Plot
2021 | Capital Cost ($/kW) | tableOvernightCapital
2022 | Nominal-Levelized Fixed Costs ($/kW-yr) | tableNominalLFCwPTC
2023 | Nominal-Levelized Cost of Electricity ($/MWh) | tableNominalLCOE
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
2051
2052
2053
2054
2055
2056
2057
2058
2059
2060

## Data Sources
Technology | Type | CAPEX | FO&M | WACC | Notes | Link (1) | Link (2) | Link (3)
Wind | Onshore | Benchmarked with public market data with adjusted NREL ATB curve; assumes tariff impacts in 2030 | NREL 2024 ATB | E3 analysis of corporate borrowing rates, perceived lender risk tolerance, and target equity returns based on technology maturity. Project leverage (debt fraction) from NREL 2024 ATB | PTC assumed for projects reaching COD through 2030 (inclusive of 4-yr safe harbor) | https://atb.nrel.gov/electricity/2024/technologies
Solar | Utility PV | Benchmarked with public market data with adjusted NREL ATB curve; assumes tariff impacts in 2030 | NREL 2024 ATB |  | PTC assumed for projects reaching COD through 2030 (inclusive of 4-yr safe harbor) | https://atb.nrel.gov/electricity/2024/technologies
Solar | Residential PV | NREL 2024 ATB; assumes tariff impacts in 2030
Gas | CT - Frame | Halcyon (2026-2030) then apply NREL ATB cost reduction starting in 2031; assumes tariff impacts in 2030 | NREL 2024 ATB |  |  | https://atb.nrel.gov/electricity/2024/technologies | https://halcyon.io/
Gas | CCGT | Halcyon (2026-2030) then apply NREL ATB cost reduction starting in 2031; assumes tariff impacts in 2030 | NREL 2024 ATB |  |  | https://atb.nrel.gov/electricity/2024/technologies | https://halcyon.io/
Nuclear | AP1000 | NREL 2024 ATB; assumes tariff impacts in 2030 | NREL 2024 ATB |  | PTC assumed through 2032, with four-year safe harbor and three-year phase-out (2040 first year of ineligibilty) | https://atb.nrel.gov/electricity/2024/technologies
Nuclear | Small Modular Reactor | NREL 2024 ATB; assumes tariff impacts in 2030
Li-ion Battery | Utility Standalone | Benchmarked with public market data with adjusted NREL ATB curve; assumes tariff impacts in 2030 | NREL 2024 ATB |  | PTC assumed through 2032, with four-year safe harbor and three-year phase-out (2040 first year of ineligibilty) | https://atb.nrel.gov/electricity/2024/technologies
Generic LDES | Generic 100-hr | PNNL Energy Storage Cost and Performance Database v2024 LDES Council Whitepaper | PNNL Energy Storage Cost and Performance Database v2024 Form Energy Whitepaper No learning after 2030 |  | Technology costs taken as the average between thermal energy storage (PNNL ESGC) and iron-air battery (Form) technologies. 2023 and 2030 values taken directly from literature, with linear interpolation and exponential extrapolation through 2050. | https://www.pnnl.gov/projects/esgc-cost-performance/ | https://www.mckinsey.com/~/media/mckinsey/business%20functions/sustainability/our%20insights/net%20zero%20power%20long%20duration%20energy%20storage%20for%20a%20renewable%20grid/net-zero-power-long-duration-energy-storage-for-a-renewable-grid.pdf